## Modulating - Metric
Model - Modulating Daily Formula Profiles - Metric - 01
|  |  | Variable 1 | [5 empty] | Variable 2 | [5 empty] | Formula profile | Model daily profile description
Type of Profile | Model reference | Units | Variable | Tag ID | Condition | Value | Unit | Bandwidth | Variable | Tag ID | Condition | Value | Unit | Bandwidth
Modulating | Model - Modulating Daily Profiles - Metric - 01 | Metric | Air temperature | ta | Greater than | 18 | ⁰ C | ---- | ---- | ---- | ---- | ---- | ---- | ---- | (ta>18) | ON if Ta> 18C
[6 empty] | 19 | [8 empty] | (ta>19) | ON if Ta> 19C
[6 empty] | 20 | [8 empty] | (ta>20) | ON if Ta> 20C
[6 empty] | 21 | [8 empty] | (ta>21) | ON if Ta> 21C
[6 empty] | 22 | [8 empty] | (ta>22) | ON if Ta> 22C
[6 empty] | 23 | [8 empty] | (ta>23) | ON if Ta> 23C
[6 empty] | 24 | [8 empty] | (ta>24) | ON if Ta> 24C
[6 empty] | 25 | [8 empty] | (ta>25) | ON if Ta> 25C
[6 empty] | 26 | [8 empty] | (ta>26) | ON if Ta> 26C
[6 empty] | 27 | [8 empty] | (ta>27) | ON if Ta> 27C
Modulating | Model - Modulating Daily Profiles - Metric - 01 | Metric | Outside temperature | to | Greater than | 15 | ⁰ C | ---- | ---- | ---- | ---- | ---- | ---- | ---- | (to>15) | ON if To > 15C
[6 empty] | 16 | [8 empty] | (to>16) | ON if To > 16C
[6 empty] | 17 | [8 empty] | (to>17) | ON if To > 17C
[6 empty] | 18 | [8 empty] | (to>18) | ON if To > 18C
[6 empty] | 19 | [8 empty] | (to>19) | ON if To > 19C
[6 empty] | 20 | [8 empty] | (to>20) | ON if To > 20C
[6 empty] | 21 | [8 empty] | (to>21) | ON if To > 21C
[6 empty] | 22 | [8 empty] | (to>22) | ON if To > 22C
[5 empty] | Less than | 23 | ⁰ C | ---- | ---- | ---- | ---- | ---- | ---- | ---- | (to<23) | ON if To < 23C
[6 empty] | 24 | [8 empty] | (to<24) | ON if To < 24C
[6 empty] | 25 | [8 empty] | (to<25) | ON if To < 25C
[6 empty] | 26 | [8 empty] | (to<26) | ON if To < 26C
[6 empty] | 27 | [8 empty] | (to<27) | ON if To < 27C
[6 empty] | 28 | [8 empty] | (to<28) | ON if To < 28C
[6 empty] | 29 | [8 empty] | (to<29) | ON if To < 29C
[6 empty] | 30 | [8 empty] | (to<30) | ON if To < 30C
Modulating | Model - Modulating Daily Profiles - Metric - 01 | Metric | Dry resultant temperature | tdr | Less than | 18 | ⁰ C | ---- | ---- | ---- | ---- | ---- | ---- | ---- | (tdr<18) | ON if Tdr < 18C
[5 empty] | Greater than | 19 | ⁰ C | ---- | ---- | ---- | ---- | ---- | ---- | ---- | (tdr>19) | ON if Tdr > 19C
[6 empty] | 20 | [8 empty] | (tdr>20) | ON if Tdr > 20C
[6 empty] | 21 | [8 empty] | (tdr>21) | ON if Tdr > 21C
[6 empty] | 22 | [8 empty] | (tdr>22) | ON if Tdr > 22C
[6 empty] | 23 | [8 empty] | (tdr>23) | ON if Tdr > 23C
[6 empty] | 24 | [8 empty] | (tdr>24) | ON if Tdr > 24C
[6 empty] | 25 | [8 empty] | (tdr>25) | ON if Tdr > 25C
[6 empty] | 26 | [8 empty] | (tdr>26) | ON if Tdr > 26C
[6 empty] | 27 | [8 empty] | (tdr>27) | ON if Tdr > 27C
Modulating | Model - Modulating Daily Profiles - Metric - 01 | Metric | Air temperature | ta | Greater than | 18 | ⁰ C | 1 | ---- | ---- | ---- | ---- | ---- | ---- | gt(ta,18,1) | ON if Ta > 18C (1)
[6 empty] | 19 | [8 empty] | gt(ta,19,1) | ON if Ta > 19C (1)
[6 empty] | 20 | [8 empty] | gt(ta,20,1) | ON if Ta > 20C (1)
[6 empty] | 21 | [8 empty] | gt(ta,21,1) | ON if Ta > 21C (1)
[6 empty] | 22 | [8 empty] | gt(ta,22,1) | ON if Ta > 22C (1)
[6 empty] | 23 | [8 empty] | gt(ta,23,1) | ON if Ta > 23C (1)
[6 empty] | 24 | [8 empty] | gt(ta,24,1) | ON if Ta > 24C (1)
[6 empty] | 25 | [8 empty] | gt(ta,25,1) | ON if Ta > 25C (1)
[6 empty] | 26 | [8 empty] | gt(ta,26,1) | ON if Ta > 26C (1)
[6 empty] | 27 | [8 empty] | gt(ta,27,1) | ON if Ta > 27C (1)
Modulating | Model - Modulating Daily Profiles - Metric - 01 | Metric | Air temperature | ta | Greater than | 18 | ⁰ C | 2 | ---- | ---- | ---- | ---- | ---- | ---- | gt(ta,18,2) | ON if Ta > 18C (2)
[6 empty] | 19 | [8 empty] | gt(ta,19,2) | ON if Ta > 19C (2)
[6 empty] | 20 | [8 empty] | gt(ta,20,2) | ON if Ta > 20C (2)
[6 empty] | 21 | [8 empty] | gt(ta,21,2) | ON if Ta > 21C (2)
[6 empty] | 22 | [8 empty] | gt(ta,22,2) | ON if Ta > 22C (2)
[6 empty] | 23 | [8 empty] | gt(ta,23,2) | ON if Ta > 23C (2)
[6 empty] | 24 | [8 empty] | gt(ta,24,2) | ON if Ta > 24C (2)
[6 empty] | 25 | [8 empty] | gt(ta,25,2) | ON if Ta > 25C (2)
[6 empty] | 26 | [8 empty] | gt(ta,26,2) | ON if Ta > 26C (2)
[6 empty] | 27 | [8 empty] | gt(ta,27,2) | ON if Ta > 27C (2)
Modulating | Model - Modulating Daily Profiles - Metric - 01 | Metric | Outside temperature | to | Greater than | 15 | ⁰ C | 1 | ---- | ---- | ---- | ---- | ---- | ---- | gt(to,15,1) | ON if To > 15C (1)
[6 empty] | 16 | [8 empty] | gt(to,16,1) | ON if To > 16C (1)
[6 empty] | 17 | [8 empty] | gt(to,17,1) | ON if To > 17C (1)
[6 empty] | 18 | [8 empty] | gt(to,18,1) | ON if To > 18C (1)
[6 empty] | 19 | [8 empty] | gt(to,19,1) | ON if To > 19C (1)
[6 empty] | 20 | [8 empty] | gt(to,20,1) | ON if To > 20C (1)
[6 empty] | 21 | [8 empty] | gt(to,21,1) | ON if To > 21C (1)
[6 empty] | 22 | [8 empty] | gt(to,22,1) | ON if To > 22C (1)
[6 empty] | 23 | [8 empty] | gt(to,23,1) | ON if To > 23C (1)
[6 empty] | 24 | [8 empty] | gt(to,24,1) | ON if To > 24C (1)
[6 empty] | 25 | [8 empty] | gt(to,25,1) | ON if To > 25C (1)
[6 empty] | 26 | [8 empty] | gt(to,26,1) | ON if To > 26C (1)
[6 empty] | 27 | [8 empty] | gt(to,27,1) | ON if To > 27C (1)
[6 empty] | 28 | [8 empty] | gt(to,28,1) | ON if To > 28C (1)
[6 empty] | 29 | [8 empty] | gt(to,29,1) | ON if To> 29C (1)
[6 empty] | 30 | [8 empty] | gt(to,30,1) | ON if To > 30C (1)
Modulating | Model - Modulating Daily Profiles - Metric - 01 | Metric | Outside temperature | to | Greater than | 15 | ⁰ C | 2 | ---- | ---- | ---- | ---- | ---- | ---- | gt(to,15,2) | ON if To > 15C (2)
[6 empty] | 16 | [8 empty] | gt(to,16,2) | ON if To > 16C (2)
[6 empty] | 17 | [8 empty] | gt(to,17,2) | ON if To > 17C (2)
[6 empty] | 18 | [8 empty] | gt(to,18,2) | ON if To > 18C (2)
[6 empty] | 19 | [8 empty] | gt(to,19,2) | ON if To > 19C (2)
[6 empty] | 20 | [8 empty] | gt(to,20,2) | ON if To > 20C (2)
[6 empty] | 21 | [8 empty] | gt(to,21,2) | ON if To > 21C (2)
[6 empty] | 22 | [8 empty] | gt(to,22,2) | ON if To > 22C (2)
[6 empty] | 23 | [8 empty] | gt(to,23,2) | ON if To > 23C (2)
[6 empty] | 24 | [8 empty] | gt(to,24,2) | ON if To > 24C (2)
[6 empty] | 25 | [8 empty] | gt(to,25,2) | ON if To > 25C (2)
[6 empty] | 26 | [8 empty] | gt(to,26,2) | ON if To > 26C (2)
[6 empty] | 27 | [8 empty] | gt(to,27,2) | ON if To > 27C (2)
[6 empty] | 28 | [8 empty] | gt(to,28,2) | ON if To > 28C (2)
[6 empty] | 29 | [8 empty] | gt(to,29,2) | ON if To > 29C (2)
[6 empty] | 30 | [8 empty] | gt(to,30,2) | ON if To > 30C (2)
Modulating | Model - Modulating Daily Profiles - Metric - 01 | Metric | Dry resultant temperature | tdr | Greater than | 18 | ⁰ C | 1 | ---- | ---- | ---- | ---- | ---- | ---- | gt(tdr,18,1) | ON if Tdr > 18C (1)
[6 empty] | 19 | [8 empty] | gt(tdr,19,1) | ON if Tdr > 19C (1)
[6 empty] | 20 | [8 empty] | gt(tdr,20,1) | ON if Tdr > 20C (1)
[6 empty] | 21 | [8 empty] | gt(tdr,21,1) | ON if Tdr > 21C (1)
[6 empty] | 22 | [8 empty] | gt(tdr,22,1) | ON if Tdr > 22C (1)
[6 empty] | 23 | [8 empty] | gt(tdr,23,1) | ON if Tdr > 23C (1)
[6 empty] | 24 | [8 empty] | gt(tdr,24,1) | ON if Tdr > 24C (1)
[6 empty] | 25 | [8 empty] | gt(tdr,25,1) | ON if Tdr > 25C (1)
[6 empty] | 26 | [8 empty] | gt(tdr,26,1) | ON if Tdr > 26C (1)
[6 empty] | 27 | [8 empty] | gt(tdr,27,1) | ON if Tdr > 27C (1)
Modulating | Model - Modulating Daily Profiles - Metric - 01 | Metric | Dry resultant temperature | tdr | Greater than | 18 | ⁰ C | 2 | ---- | ---- | ---- | ---- | ---- | ---- | gt(tdr,18,2) | ON if Tdr > 18C (2)
[6 empty] | 19 | [8 empty] | gt(tdr,19,2) | ON if Tdr > 19C (2)
[6 empty] | 20 | [8 empty] | gt(tdr,20,2) | ON if Tdr > 20C (2)
[6 empty] | 21 | [8 empty] | gt(tdr,21,2) | ON if Tdr > 21C (2)
[6 empty] | 22 | [8 empty] | gt(tdr,22,2) | ON if Tdr > 22C (2)
[6 empty] | 23 | [8 empty] | gt(tdr,23,2) | ON if Tdr > 23C (2)
[6 empty] | 24 | [8 empty] | gt(tdr,24,2) | ON if Tdr > 24C (2)
[6 empty] | 25 | [8 empty] | gt(tdr,25,2) | ON if Tdr > 25C (2)
[6 empty] | 26 | [8 empty] | gt(tdr,26,2) | ON if Tdr > 26C (2)
[6 empty] | 27 | [8 empty] | gt(tdr,27,2) | ON if Tdr > 27C (2)
Modulating | Model - Modulating Daily Profiles - Metric - 01 | Metric | Air temperature | ta | Greater than | 23 | ⁰ C | ---- | Outside temperature | to | Greater than | 5 | ⁰ C | ---- | (ta>23)&(to>5) | ON if Ta > 23C AND To > 5C
[12 empty] | 10 |  |  | (ta>23)&(to>10) | ON if Ta > 23C AND To > 10C
[12 empty] | 12 |  |  | (ta>23)&(to>12) | ON if Ta > 23C AND To > 12C
[6 empty] | 24 | ⁰ C | ---- | Outside temperature | to | Greater than | 5 | ⁰ C | ---- | (ta>24)&(to>5) | ON if Ta > 24C AND To > 5C
[12 empty] | 10 |  |  | (ta>24)&(to>10) | ON if Ta > 24C AND To > 10C
[12 empty] | 12 |  |  | (ta>24)&(to>12) | ON if Ta > 24C AND To > 12C
[6 empty] | 25 | ⁰ C | ---- | Outside temperature | to | Greater than | 5 | ⁰ C | ---- | (ta>25)&(to>5) | ON if Ta > 25C AND To > 5C
[12 empty] | 10 |  |  | (ta>25)&(to>10) | ON if Ta > 25C AND To > 10C
[12 empty] | 12 |  |  | (ta>25)&(to>12) | ON if Ta > 25C AND To > 12C
[6 empty] | 26 | ⁰ C | ---- | Outside temperature | to | Greater than | 5 | ⁰ C | ---- | (ta>26)&(to>5) | ON if Ta > 26C AND To > 5C
[12 empty] | 10 |  |  | (ta>26)&(to>10) | ON if Ta > 26C AND To > 10C
[12 empty] | 12 |  |  | (ta>26)&(to>12) | ON if Ta > 26C AND To > 12C
Modulating | Model - Modulating Daily Profiles - Metric - 01 | Metric | Air temperature | ta | Greater than | 23 | ⁰ C | 1 | Outside temperature | to | Greater than | 5 | ⁰ C | ---- | gt(ta,23,1)&(to>5) | ON if Ta > 23C AND To > 5C - Alt
[12 empty] | 10 |  |  | gt(ta,23,1)&(to>10) | ON if Ta > 23C AND To > 10C - Alt
[12 empty] | 12 |  |  | gt(ta,23,1)&(to>12) | ON if Ta > 23C AND To > 12C - Alt
[6 empty] | 24 | ⁰ C | 1 | Outside temperature | to | Greater than | 5 | ⁰ C | ---- | gt(ta,24,1)&(to>5) | ON if Ta > 24C AND To > 5C - Alt
[12 empty] | 10 |  |  | gt(ta,24,1)&(to>10) | ON if Ta > 24C AND To > 10C - Alt
[12 empty] | 12 |  |  | gt(ta,24,1)&(to>12) | ON if Ta > 24C AND To > 12C - Alt
[6 empty] | 25 | ⁰ C | 1 | Outside temperature | to | Greater than | 5 | ⁰ C | ---- | gt(ta,25,1)&(to>5) | ON if Ta > 25C AND To > 5C - Alt
[12 empty] | 10 |  |  | gt(ta,25,1)&(to>10) | ON if Ta > 25C AND To > 10C - Alt
[12 empty] | 12 |  |  | gt(ta,25,1)&(to>12) | ON if Ta > 25C AND To > 12C - Alt
[6 empty] | 26 | ⁰ C | 1 | Outside temperature | to | Greater than | 5 | ⁰ C | ---- | gt(ta,26,1)&(to>5) | ON if Ta > 26C AND To > 5C - Alt
[12 empty] | 10 |  |  | gt(ta,26,1)&(to>10) | ON if Ta > 26C AND To > 10C - Alt
[12 empty] | 12 |  |  | gt(ta,26,1)&(to>12) | ON if Ta > 26C AND To > 12C - Alt
Modulating | Model - Modulating Daily Profiles - Metric - 01 | Metric | Dry resultant temperature | tdr | Greater than | 23 | ⁰ C | ---- | Outside temperature | to | Greater than | 5 | ⁰ C | ---- | (tdr>23)&(to>5) | ON if Tdr > 23C AND To > 5C
[12 empty] | 10 |  |  | (tdr>23)&(to>10) | ON if Tdr > 23C AND To > 10C
[12 empty] | 12 |  |  | (tdr>23)&(to>12) | ON if Tdr > 23C AND To > 12C
[6 empty] | 24 | ⁰ C | ---- | Outside temperature | to | Greater than | 5 | ⁰ C | ---- | (tdr>24)&(to>5) | ON if Tdr > 24C AND To > 5C
[12 empty] | 10 |  |  | (tdr>24)&(to>10) | ON if Tdr > 24C AND To > 10C
[12 empty] | 12 |  |  | (tdr>24)&(to>12) | ON if Tdr > 24C AND To > 12C
[6 empty] | 25 | ⁰ C | ---- | Outside temperature | to | Greater than | 5 | ⁰ C | ---- | (tdr>25)&(to>5) | ON if Tdr > 25C AND To > 5C
[12 empty] | 10 |  |  | (tdr>25)&(to>10) | ON if Tdr > 25C AND To > 10C
[12 empty] | 12 |  |  | (tdr>25)&(to>12) | ON if Tdr > 25C AND To > 12C
[6 empty] | 26 | ⁰ C | ---- | Outside temperature | to | Greater than | 5 | ⁰ C | ---- | (tdr>26)&(to>5) | ON if Tdr > 26C AND To > 5C
[12 empty] | 10 |  |  | (tdr>26)&(to>10) | ON if Tdr > 26C AND To > 10C
[12 empty] | 12 |  |  | (tdr>26)&(to>12) | ON if Tdr > 26C AND To > 12C
Modulating | Model - Modulating Daily Profiles - Metric - 01 | Metric | Dry resultant temperature | tdr | Greater than | 23 | ⁰ C | 1 | Outside temperature | to | Greater than | 5 | ⁰ C | ---- | gt(tdr,23,1)&(to>5) | ON if Tdr > 23C AND To > 5C - Alt
[12 empty] | 10 |  |  | gt(tdr,23,1)&(to>10) | ON if Tdr > 23C AND To > 10C - Alt
[12 empty] | 12 |  |  | gt(tdr,23,1)&(to>12) | ON if Tdr > 23C AND To > 12C - Alt
[6 empty] | 24 | ⁰ C | 1 | Outside temperature | to | Greater than | 5 | ⁰ C | ---- | gt(tdr,24,1)&(to>5) | ON if Tdr > 24C AND To > 5C - Alt
[12 empty] | 10 |  |  | gt(tdr,24,1)&(to>10) | ON if Tdr > 24C AND To > 10C - Alt
[12 empty] | 12 |  |  | gt(tdr,24,1)&(to>12) | ON if Tdr > 24C AND To > 12C - Alt
[6 empty] | 25 | ⁰ C | 1 | Outside temperature | to | Greater than | 5 | ⁰ C | ---- | gt(tdr,25,1)&(to>5) | ON if Tdr > 25C AND To > 5C - Alt
[12 empty] | 10 |  |  | gt(tdr,25,1)&(to>10) | ON if Tdr > 25C AND To > 10C - Alt
[12 empty] | 12 |  |  | gt(tdr,25,1)&(to>12) | ON if Tdr > 25C AND To > 12C - Alt
[6 empty] | 26 | ⁰ C | 1 | Outside temperature | to | Greater than | 5 | ⁰ C | ---- | gt(tdr,26,1)&(to>5) | ON if Tdr > 26C AND To > 5C - Alt
[12 empty] | 10 |  |  | gt(tdr,26,1)&(to>10) | ON if Tdr > 26C AND To > 10C - Alt
[12 empty] | 12 |  |  | gt(tdr,26,1)&(to>12) | ON if Tdr > 26C AND To > 12C - Alt
Modulating | Model - Modulating Daily Profiles - Metric - 01 | Metric | CO2 concentration | co2 | Greater than | 1000 | ppm | ---- | Air temperature | ta | Greater than | 20 | ⁰ C | ---- | (co2>1000)&(ta>20) | ON if CO2 > 1000ppm AND Ta > 20C
[12 empty] | 19 |  |  | (co2>1000)&(ta>19) | ON if CO2 > 1000ppm AND Ta > 19C
[12 empty] | 18 |  |  | (co2>1000)&(ta>18) | ON if CO2 > 1000ppm AND Ta > 18C
[12 empty] | 17 |  |  | (co2>1000)&(ta>17) | ON if CO2 > 1000ppm AND Ta > 17C
[12 empty] | 16 |  |  | (co2>1000)&(ta>16) | ON if CO2 > 1000ppm AND Ta > 16C
[12 empty] | 15 |  |  | (co2>1000)&(ta>15) | ON if CO2 > 1000ppm AND Ta > 15C
[6 empty] | 1500 | ppm | ---- | Air temperature | ta | Greater than | 20 | ⁰ C | ---- | (co2>1500)&(ta>20) | ON if CO2 > 1500ppm AND Ta > 20C
[12 empty] | 19 |  |  | (co2>1500)&(ta>19) | ON if CO2 > 1500ppm AND Ta > 19C
[12 empty] | 18 |  |  | (co2>1500)&(ta>18) | ON if CO2 > 1500ppm AND Ta > 18C
[12 empty] | 17 |  |  | (co2>1500)&(ta>17) | ON if CO2 > 1500ppm AND Ta > 17C
[12 empty] | 16 |  |  | (co2>1500)&(ta>16) | ON if CO2 > 1500ppm AND Ta > 16C
[12 empty] | 15 |  |  | (co2>1500)&(ta>15) | ON if CO2 > 1500ppm AND Ta > 15C
Modulating | Model - Modulating Daily Profiles - Metric - 01 | Metric | CO2 concentration | co2 | Greater than | 1000 | ppm | 100 | Air temperature | ta | Greater than | 20 | ⁰ C | 1 | gt(co2,1000,100)&gt(ta,20,1) | ON if CO2 > 1000ppm (100) AND Ta > 20C (1)
[12 empty] | 19 |  |  | gt(co2,1000,100)&gt(ta,19,1) | ON if CO2 > 1000ppm (100) AND Ta > 19C (1)
[12 empty] | 18 |  |  | gt(co2,1000,100)&gt(ta,18,1) | ON if CO2 > 1000ppm (100) AND Ta > 18C (1)
[12 empty] | 17 |  |  | gt(co2,1000,100)&gt(ta,17,1) | ON if CO2 > 1000ppm (100) AND Ta > 17C (1)
[12 empty] | 16 |  |  | gt(co2,1000,100)&gt(ta,16,1) | ON if CO2 > 1000ppm (100) AND Ta > 16C (1)
[12 empty] | 15 |  |  | gt(co2,1000,100)&gt(ta,15,1) | ON if CO2 > 1000ppm (100) AND Ta > 15C (1)
[6 empty] | 1500 | ppm | 100 | Air temperature | ta | Greater than | 20 | ⁰ C | 1 | gt(co2,1500,100)&gt(ta,20,1) | ON if CO2 > 1500ppm (100) AND Ta > 20C (1)
[12 empty] | 19 |  |  | gt(co2,1500,100)&gt(ta,19,1) | ON if CO2 > 1500ppm (100) AND Ta > 19C (1)
[12 empty] | 18 |  |  | gt(co2,1500,100)&gt(ta,18,1) | ON if CO2 > 1500ppm (100) AND Ta > 18C (1)
[12 empty] | 17 |  |  | gt(co2,1500,100)&gt(ta,17,1) | ON if CO2 > 1500ppm (100) AND Ta > 17C (1)
[12 empty] | 16 |  |  | gt(co2,1500,100)&gt(ta,16,1) | ON if CO2 > 1500ppm (100) AND Ta > 16C (1)
[12 empty] | 15 |  |  | gt(co2,1500,100)&gt(ta,15,1) | ON if CO2 > 1500ppm (100) AND Ta > 15C (1)
Modulating | Model - Modulating Daily Profiles - Metric - 01 | Metric | CO2 concentration | co2 | Greater than | 1000 | ppm | ---- | Dry resultant temperature | tdr | Greater than | 20 | ⁰ C | ---- | (co2>1000)&(tdr>20) | ON if CO2 > 1000ppm AND Tdr > 20C
[12 empty] | 19 |  |  | (co2>1000)&(tdr>19) | ON if CO2 > 1000ppm AND Tdr > 19C
[12 empty] | 18 |  |  | (co2>1000)&(tdr>18) | ON if CO2 > 1000ppm AND Tdr > 18C
[12 empty] | 17 |  |  | (co2>1000)&(tdr>17) | ON if CO2 > 1000ppm AND Tdr > 17C
[12 empty] | 16 |  |  | (co2>1000)&(tdr>16) | ON if CO2 > 1000ppm AND Tdr > 16C
[12 empty] | 15 |  |  | (co2>1000)&(tdr>15) | ON if CO2 > 1000ppm AND Tdr > 15C
[6 empty] | 1500 | ppm | ---- | Dry resultant temperature | tdr | Greater than | 20 | ⁰ C | ---- | (co2>1500)&(tdr>20) | ON if CO2 > 1500ppm AND Tdr > 20C
[12 empty] | 19 |  |  | (co2>1500)&(tdr>19) | ON if CO2 > 1500ppm AND Tdr > 19C
[12 empty] | 18 |  |  | (co2>1500)&(tdr>18) | ON if CO2 > 1500ppm AND Tdr > 18C
[12 empty] | 17 |  |  | (co2>1500)&(tdr>17) | ON if CO2 > 1500ppm AND Tdr > 17C
[12 empty] | 16 |  |  | (co2>1500)&(tdr>16) | ON if CO2 > 1500ppm AND Tdr > 16C
[12 empty] | 15 |  |  | (co2>1500)&(tdr>15) | ON if CO2 > 1500ppm AND Tdr > 15C
Modulating | Model - Modulating Daily Profiles - Metric - 01 | Metric | CO2 concentration | co2 | Greater than | 1000 | ppm | 100 | Dry resultant temperature | tdr | Greater than | 20 | ⁰ C | 1 | gt(co2,1000,100)&gt(tdr,20,1) | ON if CO2 > 1000ppm (100) AND Tdr > 20C (1)
[12 empty] | 19 |  |  | gt(co2,1000,100)&gt(tdr,19,1) | ON if CO2 > 1000ppm (100) AND Tdr > 19C (1)
[12 empty] | 18 |  |  | gt(co2,1000,100)&gt(tdr,18,1) | ON if CO2 > 1000ppm (100) AND Tdr > 18C (1)
[12 empty] | 17 |  |  | gt(co2,1000,100)&gt(tdr,17,1) | ON if CO2 > 1000ppm (100) AND Tdr > 17C (1)
[12 empty] | 16 |  |  | gt(co2,1000,100)&gt(tdr,16,1) | ON if CO2 > 1000ppm (100) AND Tdr > 16C (1)
[12 empty] | 15 |  |  | gt(co2,1000,100)&gt(tdr,15,1) | ON if CO2 > 1000ppm (100) AND Tdr > 15C (1)
[6 empty] | 1500 | ppm | 100 | Dry resultant temperature | tdr | Greater than | 20 | ⁰ C | 1 | gt(co2,1500,100)&gt(tdr,20,1) | ON if CO2 > 1500ppm (100) AND Tdr > 20C (1)
[12 empty] | 19 |  |  | gt(co2,1500,100)&gt(tdr,19,1) | ON if CO2 > 1500ppm (100) AND Tdr > 19C (1)
[12 empty] | 18 |  |  | gt(co2,1500,100)&gt(tdr,18,1) | ON if CO2 > 1500ppm (100) AND Tdr > 18C (1)
[12 empty] | 17 |  |  | gt(co2,1500,100)&gt(tdr,17,1) | ON if CO2 > 1500ppm (100) AND Tdr > 17C (1)
[12 empty] | 16 |  |  | gt(co2,1500,100)&gt(tdr,16,1) | ON if CO2 > 1500ppm (100) AND Tdr > 16C (1)
[12 empty] | 15 |  |  | gt(co2,1500,100)&gt(tdr,15,1) | ON if CO2 > 1500ppm (100) AND Tdr > 15C (1)
Modulating | Model - Modulating Daily Profiles - Metric - 01 | Metric | CO2 concentration | co2 | Greater than | 1000 | ppm | ---- | Air temperature | ta | Greater than | 20 | ⁰ C | ---- | (co2>1000) ¦ (ta>20) | ON if CO2 > 1000ppm OR Ta > 20C
[12 empty] | 19 |  |  | (co2>1000) ¦ (ta>19) | ON if CO2 > 1000ppm OR Ta > 19C
[12 empty] | 18 |  |  | (co2>1000) ¦ (ta>18) | ON if CO2 > 1000ppm OR Ta > 18C
[12 empty] | 17 |  |  | (co2>1000) ¦ (ta>17) | ON if CO2 > 1000ppm OR Ta > 17C
[12 empty] | 16 |  |  | (co2>1000) ¦ (ta>16) | ON if CO2 > 1000ppm OR Ta > 16C
[12 empty] | 15 |  |  | (co2>1000) ¦ (ta>15) | ON if CO2 > 1000ppm OR Ta > 15C
[6 empty] | 1500 | ppm | ---- | Air temperature | ta | Greater than | 20 | ⁰ C | ---- | (co2>1500) ¦ (ta>20) | ON if CO2 > 1500ppm OR Ta > 20C
[12 empty] | 19 |  |  | (co2>1500) ¦ (ta>19) | ON if CO2 > 1500ppm OR Ta > 19C
[12 empty] | 18 |  |  | (co2>1500) ¦ (ta>18) | ON if CO2 > 1500ppm OR Ta > 18C
[12 empty] | 17 |  |  | (co2>1500) ¦ (ta>17) | ON if CO2 > 1500ppm OR Ta > 17C
[12 empty] | 16 |  |  | (co2>1500) ¦ (ta>16) | ON if CO2 > 1500ppm OR Ta > 16C
[12 empty] | 15 |  |  | (co2>1500) ¦ (ta>15) | ON if CO2 > 1500ppm OR Ta > 15C
Modulating | Model - Modulating Daily Profiles - Metric - 01 | Metric | CO2 concentration | co2 | Greater than | 1000 | ppm | ---- | Dry resultant temperature | tdr | Greater than | 20 | ⁰ C | ---- | (co2>1000) ¦ (tdr>20) | ON if CO2 > 1000ppm OR Tdr > 20C
[12 empty] | 19 |  |  | (co2>1000) ¦ (tdr>19) | ON if CO2 > 1000ppm OR Tdr > 19C
[12 empty] | 18 |  |  | (co2>1000) ¦ (tdr>18) | ON if CO2 > 1000ppm OR Tdr > 18C
[12 empty] | 17 |  |  | (co2>1000) ¦ (tdr>17) | ON if CO2 > 1000ppm OR Tdr > 17C
[12 empty] | 16 |  |  | (co2>1000) ¦ (tdr>16) | ON if CO2 > 1000ppm OR Tdr > 16C
[12 empty] | 15 |  |  | (co2>1000) ¦ (tdr>15) | ON if CO2 > 1000ppm OR Tdr > 15C
[6 empty] | 1500 | ppm | ---- | Dry resultant temperature | tdr | Greater than | 20 | ⁰ C | ---- | (co2>1500) ¦ (tdr>20) | ON if CO2 > 1500ppm OR Tdr > 20C
[12 empty] | 19 |  |  | (co2>1500) ¦ (tdr>19) | ON if CO2 > 1500ppm OR Tdr > 19C
[12 empty] | 18 |  |  | (co2>1500) ¦ (tdr>18) | ON if CO2 > 1500ppm OR Tdr > 18C
[12 empty] | 17 |  |  | (co2>1500) ¦ (tdr>17) | ON if CO2 > 1500ppm OR Tdr > 17C
[12 empty] | 16 |  |  | (co2>1500) ¦ (tdr>16) | ON if CO2 > 1500ppm OR Tdr > 16C
[12 empty] | 15 |  |  | (co2>1500) ¦ (tdr>15) | ON if CO2 > 1500ppm OR Tdr > 15C
Modulating | Model - Modulating Daily Profiles - Metric - 01 | Metric | Air temperature | ta | Less than | to | ⁰ C | ---- | ---- | ---- | ---- | ---- | ---- | ---- | (ta<to) | ON if Ta < To
[5 empty] | Greater than | [9 empty] | (ta>to) | ON if Ta > To
|  |  | Dry resultant temperature | tdr | Less than | [9 empty] | (tdr<to) | ON if Tdr < To
[5 empty] | Greater than | [9 empty] | (tdr>to) | ON if Tdr > To
Modulating | Model - Modulating Daily Profiles - Metric - 01 | Metric | Air temperature | ta | Controller ramps from | 16 | ⁰ C | ---- | Air temperature | ta | TO | 20 | ⁰ C | ---- | ramp(ta,16,0,20,1) | Controller ramp Ta 16C - 20C
[6 empty] | 17 | [5 empty] | 21 |  |  | ramp(ta,17,0,21,1) | Controller ramp Ta 17C - 21C
[6 empty] | 18 | [5 empty] | 22 |  |  | ramp(ta,18,0,22,1) | Controller ramp Ta 18C - 22C
[6 empty] | 19 | [5 empty] | 23 |  |  | ramp(ta,19,0,23,1) | Controller ramp Ta 19C - 23C
Modulating | Model - Modulating Daily Profiles - Metric - 01 | Metric | Air temperature | ta | Less than | 18 | ⁰ C | 2 | Outside temperature | to | Less than | ta | ⁰ C | 4 | lt(ta,18,2) & lt(to,ta,4) | ON if Ta < 18C (2) AND To < Ta (4)
[6 empty] | 19 | [8 empty] | lt(ta,19,2) & lt(to,ta,4) | ON if Ta < 19C (2) AND To < Ta (4)
[6 empty] | 20 | [8 empty] | lt(ta,20,2) & lt(to,ta,4) | ON if Ta < 20C (2) AND To < Ta (4)
[6 empty] | 21 | [8 empty] | lt(ta,21,2) & lt(to,ta,4) | ON if Ta < 21C (2) AND To < Ta (4)
Modulating | Model - Modulating Daily Profiles - Metric - 01 | Metric | Air temperature | ta | Greater than | 26 | ⁰ C | 2 | Outside temperature | to | Greater than | ta | ⁰ C | 4 | gt(ta,26,2) & gt(to,ta,4) | ON if Ta > 26C (2) & To > Ta (4)
[6 empty] | 25 | [8 empty] | gt(ta,25,2) & gt(to,ta,4) | ON if Ta > 25C (2) & To > Ta (4)
[6 empty] | 24 | [8 empty] | gt(ta,24,2) & gt(to,ta,4) | ON if Ta > 24C (2) & To > Ta (4)
[6 empty] | 23 | [8 empty] | gt(ta,23,2) & gt(to,ta,4) | ON if Ta > 23C (2) & To > Ta (4)
Modulating | Model - Modulating Daily Profiles - Metric - 01 | Metric | illuminance | e1 | Controller ramps from | 0 | lux | ---- | ---- | ---- | TO | 100 | lux | ---- | ramp(e1,0,1,100,.4) | Iluminance ramp 0-100 lux (0.4 base)
[12 empty] | 200 |  |  | ramp(e1,0,1,200,.4) | Iluminance ramp 0-200 lux (0.4 base)
[12 empty] | 300 |  |  | ramp(e1,0,1,300,.4) | Iluminance ramp 0-300 lux (0.4 base)
[12 empty] | 400 |  |  | ramp(e1,0,1,400,.4) | Iluminance ramp 0-400 lux (0.4 base)
[12 empty] | 500 |  |  | ramp(e1,0,1,500,.4) | Iluminance ramp 0-500 lux (0.4 base)
[12 empty] | 600 |  |  | ramp(e1,0,1,600,.4) | Iluminance ramp 0-600 lux (0.4 base)
[12 empty] | 700 |  |  | ramp(e1,0,1,700,.4) | Iluminance ramp 0-700 lux (0.4 base)
[12 empty] | 800 |  |  | ramp(e1,0,1,800,.4) | Iluminance ramp 0-800 lux (0.4 base)
Modulating | Model - Modulating Daily Profiles - Metric - 01 | Metric | illuminance | e1 | Controller ramps from | 0 | lux | ---- | ---- | ---- | TO | 100 | lux | ---- | ramp(e1,0,1,100,0) | Iluminance ramp 0-100 lux
[12 empty] | 200 |  |  | ramp(e1,0,1,200,0) | Iluminance ramp 0-200 lux
[12 empty] | 300 |  |  | ramp(e1,0,1,300,0) | Iluminance ramp 0-300 lux
[12 empty] | 400 |  |  | ramp(e1,0,1,400,0) | Iluminance ramp 0-400 lux
[12 empty] | 500 |  |  | ramp(e1,0,1,500,0) | Iluminance ramp 0-500 lux
[12 empty] | 600 |  |  | ramp(e1,0,1,600,0) | Iluminance ramp 0-600 lux
[12 empty] | 700 |  |  | ramp(e1,0,1,700,0) | Iluminance ramp 0-700 lux
[12 empty] | 800 |  |  | ramp(e1,0,1,800,0) | Iluminance ramp 0-800 lux

## Modulating - IP
Model - Modulating Daily Formula Profiles - IP - 01
Type of Profile | Model reference |  | Variable 1 | [5 empty] | Variable 2 | [5 empty] | Formula profile | Model daily profile description
|  | Units | Variable | Tag ID | Condition | Value | Unit | Bandwidth | Variable | Tag ID | Condition | Value | Unit | Bandwidth
Modulating | Model - Modulating Daily Formula Profiles - IP - 01 | IP | Air temperature | ta | Greater than | 65 | ⁰ F | ---- | ---- | ---- | ---- | ---- | ---- | ---- | (ta>65) | ON if Ta > 65F
[6 empty] | 66 | [8 empty] | (ta>66) | ON if Ta > 66F
[6 empty] | 67 | [8 empty] | (ta>67) | ON if Ta > 67F
[6 empty] | 68 | [8 empty] | (ta>68) | ON if Ta > 68F
[6 empty] | 69 | [8 empty] | (ta>69) | ON if Ta > 69F
[6 empty] | 70 | [8 empty] | (ta>70) | ON if Ta > 70F
[6 empty] | 71 | [8 empty] | (ta>71) | ON if Ta > 71F
[6 empty] | 72 | [8 empty] | (ta>72) | ON if Ta > 72F
[6 empty] | 73 | [8 empty] | (ta>73) | ON if Ta > 73F
[6 empty] | 74 | [8 empty] | (ta>74) | ON if Ta > 74F
[6 empty] | 75 | [8 empty] | (ta>75) | ON if Ta > 75F
[6 empty] | 76 | [8 empty] | (ta>76) | ON if Ta > 76F
[6 empty] | 77 | [8 empty] | (ta>77) | ON if Ta > 77F
[6 empty] | 78 | [8 empty] | (ta>78) | ON if Ta > 78F
[6 empty] | 79 | [8 empty] | (ta>79) | ON if Ta > 79F
[6 empty] | 80 | [8 empty] | (ta>80) | ON if Ta > 80F
Modulating | Model - Modulating Daily Formula Profiles - IP - 01 | IP | Outside temperature | to | Greater than | 59 | ⁰ F | ---- | ---- | ---- | ---- | ---- | ---- | ---- | (to>59) | ON if To > 59F
[6 empty] | 60 | [8 empty] | (to>60) | ON if To > 60F
[6 empty] | 61 | [8 empty] | (to>61) | ON if To > 61F
[6 empty] | 62 | [8 empty] | (to>62) | ON if To > 62F
[6 empty] | 63 | [8 empty] | (to>63) | ON if To > 63F
[6 empty] | 64 | [8 empty] | (to>64) | ON if To > 64F
[6 empty] | 65 | [8 empty] | (to>65) | ON if To > 65F
[6 empty] | 66 | [8 empty] | (to>66) | ON if To > 66F
[6 empty] | 67 | [8 empty] | (to>67) | ON if To > 67F
[6 empty] | 68 | [8 empty] | (to>68) | ON if To > 68F
[6 empty] | 69 | [8 empty] | (to>69) | ON if To > 69F
[6 empty] | 70 | [8 empty] | (to>70) | ON if To > 70F
[6 empty] | 71 | [8 empty] | (to>71) | ON if To > 71F
[6 empty] | 72 | [8 empty] | (to>72) | ON if To > 72F
|  |  |  | to | Less than | 73 | ⁰ F | ---- | ---- | ---- | ---- | ---- | ---- | ---- | (to<73) | ON if To < 73F
[6 empty] | 74 | [8 empty] | (to<74) | ON if To < 74F
[6 empty] | 75 | [8 empty] | (to<75) | ON if To < 75F
[6 empty] | 76 | [8 empty] | (to<76) | ON if To < 76F
[6 empty] | 77 | [8 empty] | (to<77) | ON if To < 77F
[6 empty] | 78 | [8 empty] | (to<78) | ON if To < 78F
[6 empty] | 79 | [8 empty] | (to<79) | ON if To < 79F
[6 empty] | 80 | [8 empty] | (to<80) | ON if To < 80F
[6 empty] | 81 | [8 empty] | (to<81) | ON if To < 81F
[6 empty] | 82 | [8 empty] | (to<82) | ON if To < 82F
[6 empty] | 83 | [8 empty] | (to<83) | ON if To < 83F
[6 empty] | 84 | [8 empty] | (to<84) | ON if To < 84F
[6 empty] | 85 | [8 empty] | (to<85) | ON if To < 85F
[6 empty] | 86 | [8 empty] | (to<86) | ON if To < 86F
Modulating | Model - Modulating Daily Formula Profiles - IP - 01 | IP | Dry resultant temperature | tdr | Less than | 65 | ⁰ F | ---- | ---- | ---- | ---- | ---- | ---- | ---- | (tdr>65) | ON if Tdr > 65F
[5 empty] | Greater than | 66 | ⁰ F | ---- | ---- | ---- | ---- | ---- | ---- | ---- | (tdr>66) | ON if Tdr > 66F
[6 empty] | 67 | [8 empty] | (tdr>67) | ON if Tdr > 67F
[6 empty] | 68 | [8 empty] | (tdr>68) | ON if Tdr > 68F
[6 empty] | 69 | [8 empty] | (tdr>69) | ON if Tdr > 69F
[6 empty] | 70 | [8 empty] | (tdr>70) | ON if Tdr > 70F
[6 empty] | 71 | [8 empty] | (tdr>71) | ON if Tdr > 71F
[6 empty] | 72 | [8 empty] | (tdr>72) | ON if Tdr > 72F
[6 empty] | 73 | [8 empty] | (tdr>73) | ON if Tdr > 73F
[6 empty] | 74 | [8 empty] | (tdr>74) | ON if Tdr > 74F
[6 empty] | 75 | [8 empty] | (tdr>75) | ON if Tdr > 75F
[6 empty] | 76 | [8 empty] | (tdr>76) | ON if Tdr > 76F
[6 empty] | 77 | [8 empty] | (tdr>77) | ON if Tdr > 77F
[6 empty] | 78 | [8 empty] | (tdr>78) | ON if Tdr > 78F
[6 empty] | 79 | [8 empty] | (tdr>79) | ON if Tdr > 79F
[6 empty] | 80 | [8 empty] | (tdr>80) | ON if Tdr > 80F
Modulating | Model - Modulating Daily Formula Profiles - IP - 01 | IP | Air temperature | ta | Greater than | 65 | ⁰ F | 1 | ---- | ---- | ---- | ---- | ---- | ---- | gt(ta,65,1) | ON if Ta > 65F (1)
[6 empty] | 66 | [8 empty] | gt(ta,66,1) | ON if Ta > 66F (1)
[6 empty] | 67 | [8 empty] | gt(ta,67,1) | ON if Ta > 67F (1)
[6 empty] | 68 | [8 empty] | gt(ta,68,1) | ON if Ta > 68F (1)
[6 empty] | 69 | [8 empty] | gt(ta,69,1) | ON if Ta > 69F (1)
[6 empty] | 70 | [8 empty] | gt(ta,70,1) | ON if Ta > 70F (1)
[6 empty] | 71 | [8 empty] | gt(ta,71,1) | ON if Ta > 71F (1)
[6 empty] | 72 | [8 empty] | gt(ta,72,1) | ON if Ta > 72F (1)
[6 empty] | 73 | [8 empty] | gt(ta,73,1) | ON if Ta > 73F (1)
[6 empty] | 74 | [8 empty] | gt(ta,74,1) | ON if Ta > 74F (1)
[6 empty] | 75 | [8 empty] | gt(ta,75,1) | ON if Ta > 75F (1)
[6 empty] | 76 | [8 empty] | gt(ta,76,1) | ON if Ta > 76F (1)
[6 empty] | 77 | [8 empty] | gt(ta,77,1) | ON if Ta > 77F (1)
[6 empty] | 78 | [8 empty] | gt(ta,78,1) | ON if Ta > 78F (1)
[6 empty] | 79 | [8 empty] | gt(ta,79,1) | ON if Ta > 79F (1)
[6 empty] | 80 | [8 empty] | gt(ta,80,1) | ON if Ta > 80F (1)
Modulating | Model - Modulating Daily Formula Profiles - IP - 01 | IP | Air temperature | ta | Greater than | 65 | ⁰ F | 2 | ---- | ---- | ---- | ---- | ---- | ---- | gt(ta,65,2) | ON if Ta > 65F (2)
[6 empty] | 66 | [8 empty] | gt(ta,66,2) | ON if Ta > 66F (2)
[6 empty] | 67 | [8 empty] | gt(ta,67,2) | ON if Ta > 67F (2)
[6 empty] | 68 | [8 empty] | gt(ta,68,2) | ON if Ta > 68F (2)
[6 empty] | 69 | [8 empty] | gt(ta,69,2) | ON if Ta > 69F (2)
[6 empty] | 70 | [8 empty] | gt(ta,70,2) | ON if Ta > 70F (2)
[6 empty] | 71 | [8 empty] | gt(ta,71,2) | ON if Ta > 71F (2)
[6 empty] | 72 | [8 empty] | gt(ta,72,2) | ON if Ta > 72F (2)
[6 empty] | 73 | [8 empty] | gt(ta,73,2) | ON if Ta > 73F (2)
[6 empty] | 74 | [8 empty] | gt(ta,74,2) | ON if Ta > 74F (2)
[6 empty] | 75 | [8 empty] | gt(ta,75,2) | ON if Ta > 75F (2)
[6 empty] | 76 | [8 empty] | gt(ta,76,2) | ON if Ta > 76F (2)
[6 empty] | 77 | [8 empty] | gt(ta,77,2) | ON if Ta > 77F (2)
[6 empty] | 78 | [8 empty] | gt(ta,78,2) | ON if Ta > 78F (2)
[6 empty] | 79 | [8 empty] | gt(ta,79,2) | ON if Ta > 79F (2)
[6 empty] | 80 | [8 empty] | gt(ta,80,2) | ON if Ta > 80F (2)
Modulating | Model - Modulating Daily Formula Profiles - IP - 01 | IP | Outside temperature | to | Greater than | 59 | ⁰ F | 1 | ---- | ---- | ---- | ---- | ---- | ---- | gt(to,59,1) | ON if To > 59F (1)
[6 empty] | 60 | [8 empty] | gt(to,60,1) | ON if To > 60F (1)
[6 empty] | 61 | [8 empty] | gt(to,61,1) | ON if To > 61F (1)
[6 empty] | 62 | [8 empty] | gt(to,62,1) | ON if To > 62F (1)
[6 empty] | 63 | [8 empty] | gt(to,63,1) | ON if To > 63F (1)
[6 empty] | 64 | [8 empty] | gt(to,64,1) | ON if To > 64F (1)
[6 empty] | 65 | [8 empty] | gt(to,65,1) | ON if To > 65F (1)
[6 empty] | 66 | [8 empty] | gt(to,66,1) | ON if To > 66F (1)
[6 empty] | 67 | [8 empty] | gt(to,67,1) | ON if To > 67F (1)
[6 empty] | 68 | [8 empty] | gt(to,68,1) | ON if To > 68F (1)
[6 empty] | 69 | [8 empty] | gt(to,69,1) | ON if To > 69F (1)
[6 empty] | 70 | [8 empty] | gt(to,70,1) | ON if To > 70F (1)
[6 empty] | 71 | [8 empty] | gt(to,71,1) | ON if To > 71F (1)
[6 empty] | 72 | [8 empty] | gt(to,72,1) | ON if To > 72F (1)
[5 empty] | Less than | 73 | ⁰ F | 1 | ---- | ---- | ---- | ---- | ---- | ---- | lt(to,73,1) | ON if To < 73F (1)
[6 empty] | 74 | [8 empty] | lt(to,74,1) | ON if To < 74F (1)
[6 empty] | 75 | [8 empty] | lt(to,75,1) | ON if To < 75F (1)
[6 empty] | 76 | [8 empty] | lt(to,76,1) | ON if To < 76F (1)
[6 empty] | 77 | [8 empty] | lt(to,77,1) | ON if To < 77F (1)
[6 empty] | 78 | [8 empty] | lt(to,78,1) | ON if To < 78F (1)
[6 empty] | 79 | [8 empty] | lt(to,79,1) | ON if To < 79F (1)
[6 empty] | 80 | [8 empty] | lt(to,80,1) | ON if To < 80F (1)
[6 empty] | 81 | [8 empty] | lt(to,81,1) | ON if To < 81F (1)
[6 empty] | 82 | [8 empty] | lt(to,82,1) | ON if To < 82F (1)
[6 empty] | 83 | [8 empty] | lt(to,83,1) | ON if To < 83F (1)
[6 empty] | 84 | [8 empty] | lt(to,84,1) | ON if To < 84F (1)
[6 empty] | 85 | [8 empty] | lt(to,85,1) | ON if To < 85F (1)
[6 empty] | 86 | [8 empty] | lt(to,86,1) | ON if To < 86F (1)
Modulating | Model - Modulating Daily Formula Profiles - IP - 01 | IP | Outside temperature | to | Greater than | 59 | ⁰ F | 2 | ---- | ---- | ---- | ---- | ---- | ---- | gt(to,59,2) | ON if To > 59F (2)
[6 empty] | 60 | [8 empty] | gt(to,60,2) | ON if To > 60F (2)
[6 empty] | 61 | [8 empty] | gt(to,61,2) | ON if To > 61F (2)
[6 empty] | 62 | [8 empty] | gt(to,62,2) | ON if To > 62F (2)
[6 empty] | 63 | [8 empty] | gt(to,63,2) | ON if To > 63F (2)
[6 empty] | 64 | [8 empty] | gt(to,64,2) | ON if To > 64F (2)
[6 empty] | 65 | [8 empty] | gt(to,65,2) | ON if To > 65F (2)
[6 empty] | 66 | [8 empty] | gt(to,66,2) | ON if To > 66F (2)
[6 empty] | 67 | [8 empty] | gt(to,67,2) | ON if To > 67F (2)
[6 empty] | 68 | [8 empty] | gt(to,68,2) | ON if To > 68F (2)
[6 empty] | 69 | [8 empty] | gt(to,69,2) | ON if To > 69F (2)
[6 empty] | 70 | [8 empty] | gt(to,70,2) | ON if To > 70F (2)
[6 empty] | 71 | [8 empty] | gt(to,71,2) | ON if To > 71F (2)
[6 empty] | 72 | [8 empty] | gt(to,72,2) | ON if To > 72F (2)
[5 empty] | Less than | 73 | ⁰ F | 2 | ---- | ---- | ---- | ---- | ---- | ---- | lt(to,73,2) | ON if To < 73F (2)
[6 empty] | 74 | [8 empty] | lt(to,74,2) | ON if To < 74F (2)
[6 empty] | 75 | [8 empty] | lt(to,75,2) | ON if To < 75F (2)
[6 empty] | 76 | [8 empty] | lt(to,76,2) | ON if To < 76F (2)
[6 empty] | 77 | [8 empty] | lt(to,77,2) | ON if To < 77F (2)
[6 empty] | 78 | [8 empty] | lt(to,78,2) | ON if To < 78F (2)
[6 empty] | 79 | [8 empty] | lt(to,79,2) | ON if To < 79F (2)
[6 empty] | 80 | [8 empty] | lt(to,80,2) | ON if To < 80F (2)
[6 empty] | 81 | [8 empty] | lt(to,81,2) | ON if To < 81F (2)
[6 empty] | 82 | [8 empty] | lt(to,82,2) | ON if To < 82F (2)
[6 empty] | 83 | [8 empty] | lt(to,83,2) | ON if To < 83F (2)
[6 empty] | 84 | [8 empty] | lt(to,84,2) | ON if To < 84F (2)
[6 empty] | 85 | [8 empty] | lt(to,85,2) | ON if To < 85F (2)
[6 empty] | 86 | [8 empty] | lt(to,86,2) | ON if To < 86F (2)
Modulating | Model - Modulating Daily Formula Profiles - IP - 01 | IP | Dry resultant temperature | tdr | Greater than | 65 | ⁰ F | 1 | ---- | ---- | ---- | ---- | ---- | ---- | gt(tdr,65,1) | ON if Tdr > 65F (1)
[6 empty] | 66 | [8 empty] | gt(tdr,66,1) | ON if Tdr > 66F (1)
[6 empty] | 67 | [8 empty] | gt(tdr,67,1) | ON if Tdr > 67F (1)
[6 empty] | 68 | [8 empty] | gt(tdr,68,1) | ON if Tdr > 68F (1)
[6 empty] | 69 | [8 empty] | gt(tdr,69,1) | ON if Tdr > 69F (1)
[6 empty] | 70 | [8 empty] | gt(tdr,70,1) | ON if Tdr > 70F (1)
[6 empty] | 71 | [8 empty] | gt(tdr,71,1) | ON if Tdr > 71F (1)
[6 empty] | 72 | [8 empty] | gt(tdr,72,1) | ON if Tdr > 72F (1)
[6 empty] | 73 | [8 empty] | gt(tdr,73,1) | ON if Tdr > 73F (1)
[6 empty] | 74 | [8 empty] | gt(tdr,74,1) | ON if Tdr > 74F (1)
[6 empty] | 75 | [8 empty] | gt(tdr,75,1) | ON if Tdr > 75F (1)
[6 empty] | 76 | [8 empty] | gt(tdr,76,1) | ON if Tdr > 76F (1)
[6 empty] | 77 | [8 empty] | gt(tdr,77,1) | ON if Tdr > 77F (1)
[6 empty] | 78 | [8 empty] | gt(tdr,78,1) | ON if Tdr > 78F (1)
[6 empty] | 79 | [8 empty] | gt(tdr,79,1) | ON if Tdr > 79F (1)
[6 empty] | 80 | [8 empty] | gt(tdr,80,1) | ON if Tdr > 80F (1)
Modulating | Model - Modulating Daily Formula Profiles - IP - 01 | IP | Dry resultant temperature | tdr | Greater than | 65 | ⁰ F | 2 | ---- | ---- | ---- | ---- | ---- | ---- | gt(tdr,65,2) | ON if Tdr > 65F (2)
[6 empty] | 66 | [8 empty] | gt(tdr,66,2) | ON if Tdr > 66F (2)
[6 empty] | 67 | [8 empty] | gt(tdr,67,2) | ON if Tdr > 67F (2)
[6 empty] | 68 | [8 empty] | gt(tdr,68,2) | ON if Tdr > 68F (2)
[6 empty] | 69 | [8 empty] | gt(tdr,69,2) | ON if Tdr > 69F (2)
[6 empty] | 70 | [8 empty] | gt(tdr,70,2) | ON if Tdr > 70F (2)
[6 empty] | 71 | [8 empty] | gt(tdr,71,2) | ON if Tdr > 71F (2)
[6 empty] | 72 | [8 empty] | gt(tdr,72,2) | ON if Tdr > 72F (2)
[6 empty] | 73 | [8 empty] | gt(tdr,73,2) | ON if Tdr > 73F (2)
[6 empty] | 74 | [8 empty] | gt(tdr,74,2) | ON if Tdr > 74F (2)
[6 empty] | 75 | [8 empty] | gt(tdr,75,2) | ON if Tdr > 75F (2)
[6 empty] | 76 | [8 empty] | gt(tdr,76,2) | ON if Tdr > 76F (2)
[6 empty] | 77 | [8 empty] | gt(tdr,77,2) | ON if Tdr > 77F (2)
[6 empty] | 78 | [8 empty] | gt(tdr,78,2) | ON if Tdr > 78F (2)
[6 empty] | 79 | [8 empty] | gt(tdr,79,2) | ON if Tdr > 79F (2)
[6 empty] | 80 | [8 empty] | gt(tdr,80,2) | ON if Tdr > 80F (2)
Modulating | Model - Modulating Daily Formula Profiles - IP - 01 | IP | Air temperature | ta | Greater than | 74 | ⁰ C | ---- | Outside temperature | to | Greater than | 41 | ⁰ C | ---- | (ta>74)&(to>41) | ON if Ta > 74F AND To > 41F
[12 empty] | 50 |  |  | (ta>74)&(to>50) | ON if Ta > 74F AND To > 50F
[12 empty] | 54 |  |  | (ta>74)&(to>54) | ON if Ta > 74F AND To > 54F
[6 empty] | 75 | ⁰ C | ---- | Outside temperature | to | Greater than | 41 |  |  | (ta>75)&(to>41) | ON if Ta > 75F AND To > 41F
[12 empty] | 50 |  |  | (ta>75)&(to>50) | ON if Ta > 75F AND To > 50F
[12 empty] | 54 |  |  | (ta>75)&(to>54) | ON if Ta > 75F AND To > 54F
[6 empty] | 76 | ⁰ C | ---- | Outside temperature | to | Greater than | 41 |  |  | (ta>76)&(to>41) | ON if Ta > 76F AND To > 41F
[12 empty] | 50 |  |  | (ta>76)&(to>50) | ON if Ta > 76F AND To > 50F
[12 empty] | 54 |  |  | (ta>76)&(to>54) | ON if Ta > 76F AND To > 54F
[6 empty] | 77 | ⁰ C | ---- | Outside temperature | to | Greater than | 41 |  |  | (ta>77)&(to>41) | ON if Ta > 77F AND To > 41F
[12 empty] | 50 |  |  | (ta>77)&(to>50) | ON if Ta > 77F AND To > 50F
[12 empty] | 54 |  |  | (ta>77)&(to>54) | ON if Ta > 77F AND To > 54F
[6 empty] | 78 | ⁰ C | ---- | Outside temperature | to | Greater than | 41 |  |  | (ta>78)&(to>41) | ON if Ta > 78F AND To > 41F
[12 empty] | 50 |  |  | (ta>78)&(to>50) | ON if Ta > 78F AND To > 50F
[12 empty] | 54 |  |  | (ta>78)&(to>54) | ON if Ta > 78F AND To > 54F
[6 empty] | 79 | ⁰ C | ---- | Outside temperature | to | Greater than | 41 |  |  | (ta>79)&(to>41) | ON if Ta > 79F AND To > 41F
[12 empty] | 50 |  |  | (ta>79)&(to>50) | ON if Ta > 79F AND To > 50F
[12 empty] | 54 |  |  | (ta>79)&(to>54) | ON if Ta > 79F AND To > 54F
Modulating | Model - Modulating Daily Formula Profiles - IP - 01 | IP | Air temperature | ta | Greater than | 74 | ⁰ C | 1 | Outside temperature | to | Greater than | 41 | ⁰ C | ---- | gt(ta,74,1)&(to>41) | ON if Ta > 74F AND To > 41F - Alt
[12 empty] | 50 |  |  | gt(ta,74,1)&(to>50) | ON if Ta > 74F AND To > 50F - Alt
[12 empty] | 54 |  |  | gt(ta,74,1)&(to>54) | ON if Ta > 74F AND To > 54F - Alt
[6 empty] | 75 | ⁰ C | 1 | Outside temperature | to | Greater than | 41 |  |  | gt(ta,75,1)&(to>41) | ON if Ta > 75F AND To > 41F - Alt
[12 empty] | 50 |  |  | gt(ta,75,1)&(to>50) | ON if Ta > 75F AND To > 50F - Alt
[12 empty] | 54 |  |  | gt(ta,75,1)&(to>54) | ON if Ta > 75F AND To > 54F - Alt
[6 empty] | 76 | ⁰ C | 1 | Outside temperature | to | Greater than | 41 |  |  | gt(ta,76,1)&(to>41) | ON if Ta > 76F AND To > 41F - Alt
[12 empty] | 50 |  |  | gt(ta,76,1)&(to>50) | ON if Ta > 76F AND To > 50F - Alt
[12 empty] | 54 |  |  | gt(ta,76,1)&(to>54) | ON if Ta > 76F AND To > 54F - Alt
[6 empty] | 77 | ⁰ C | 1 | Outside temperature | to | Greater than | 41 |  |  | gt(ta,77,1)&(to>41) | ON if Ta > 77F AND To > 41F - Alt
[12 empty] | 50 |  |  | gt(ta,77,1)&(to>50) | ON if Ta > 77F AND To > 50F - Alt
[12 empty] | 54 |  |  | gt(ta,77,1)&(to>54) | ON if Ta > 77F AND To > 54F - Alt
[6 empty] | 78 | ⁰ C | 1 | Outside temperature | to | Greater than | 41 |  |  | gt(ta,78,1)&(to>41) | ON if Ta > 78F AND To > 41F - Alt
[12 empty] | 50 |  |  | gt(ta,78,1)&(to>50) | ON if Ta > 78F AND To > 50F - Alt
[12 empty] | 54 |  |  | gt(ta,78,1)&(to>54) | ON if Ta > 78F AND To > 54F - Alt
[6 empty] | 79 | ⁰ C | 1 | Outside temperature | to | Greater than | 41 |  |  | gt(ta,79,1)&(to>41) | ON if Ta > 79F AND To > 41F - Alt
[12 empty] | 50 |  |  | gt(ta,79,1)&(to>50) | ON if Ta > 79F AND To > 50F - Alt
[12 empty] | 54 |  |  | gt(ta,79,1)&(to>54) | ON if Ta > 79F AND To > 54F - Alt
Modulating | Model - Modulating Daily Formula Profiles - IP - 01 | IP | Dry resultant temperature | tdr | Greater than | 74 | ⁰ C | ---- | Outside temperature | to | Greater than | 41 | ⁰ C | ---- | (tdr>74)&(to>41) | ON if Tdr > 74F AND To > 41F
[12 empty] | 50 |  |  | (tdr>74)&(to>50) | ON if Tdr > 74F AND To > 50F
[12 empty] | 54 |  |  | (tdr>74)&(to>54) | ON if Tdr > 74F AND To > 54F
[6 empty] | 75 | ⁰ C | ---- | Outside temperature | to | Greater than | 41 |  |  | (tdr>75)&(to>41) | ON if Tdr > 75F AND To > 41F
[12 empty] | 50 |  |  | (tdr>75)&(to>50) | ON if Tdr > 75F AND To > 50F
[12 empty] | 54 |  |  | (tdr>75)&(to>54) | ON if Tdr > 75F AND To > 54F
[6 empty] | 76 | ⁰ C | ---- | Outside temperature | to | Greater than | 41 |  |  | (tdr>76)&(to>41) | ON if Tdr > 76F AND To > 41F
[12 empty] | 50 |  |  | (tdr>76)&(to>50) | ON if Tdr > 76F AND To > 50F
[12 empty] | 54 |  |  | (tdr>76)&(to>54) | ON if Tdr > 76F AND To > 54F
[6 empty] | 77 | ⁰ C | ---- | Outside temperature | to | Greater than | 41 |  |  | (tdr>77)&(to>41) | ON if Tdr > 77F AND To > 41F
[12 empty] | 50 |  |  | (tdr>77)&(to>50) | ON if Tdr > 77F AND To > 50F
[12 empty] | 54 |  |  | (tdr>77)&(to>54) | ON if Tdr > 77F AND To > 54F
[6 empty] | 78 | ⁰ C | ---- | Outside temperature | to | Greater than | 41 |  |  | (tdr>78)&(to>41) | ON if Tdr > 78F AND To > 41F
[12 empty] | 50 |  |  | (tdr>78)&(to>50) | ON if Tdr > 78F AND To > 50F
[12 empty] | 54 |  |  | (tdr>78)&(to>54) | ON if Tdr > 78F AND To > 54F
[6 empty] | 79 | ⁰ C | ---- | Outside temperature | to | Greater than | 41 |  |  | (tdr>79)&(to>41) | ON if Tdr > 79F AND To > 41F
[12 empty] | 50 |  |  | (tdr>79)&(to>50) | ON if Tdr > 79F AND To > 50F
[12 empty] | 54 |  |  | (tdr>79)&(to>54) | ON if Tdr > 79F AND To > 54F
Modulating | Model - Modulating Daily Formula Profiles - IP - 01 | IP | Dry resultant temperature | tdr | Greater than | 74 | ⁰ C | 1 | Outside temperature | to | Greater than | 41 | ⁰ C | ---- | gt(tdr,74,1)&(to>41) | ON if Tdr > 74F AND To > 41F - Alt
[12 empty] | 50 |  |  | gt(tdr,74,1)&(to>50) | ON if Tdr > 74F AND To > 50F - Alt
[12 empty] | 54 |  |  | gt(tdr,74,1)&(to>54) | ON if Tdr > 74F AND To > 54F - Alt
[6 empty] | 75 | ⁰ C | 1 | Outside temperature | to | Greater than | 41 |  |  | gt(tdr,75,1)&(to>41) | ON if Tdr > 75F AND To > 41F - Alt
[12 empty] | 50 |  |  | gt(tdr,75,1)&(to>50) | ON if Tdr > 75F AND To > 50F - Alt
[12 empty] | 54 |  |  | gt(tdr,75,1)&(to>54) | ON if Tdr > 75F AND To > 54F - Alt
[6 empty] | 76 | ⁰ C | 1 | Outside temperature | to | Greater than | 41 |  |  | gt(tdr,76,1)&(to>41) | ON if Tdr > 76F AND To > 41F - Alt
[12 empty] | 50 |  |  | gt(tdr,76,1)&(to>50) | ON if Tdr > 76F AND To > 50F - Alt
[12 empty] | 54 |  |  | gt(tdr,76,1)&(to>54) | ON if Tdr > 76F AND To > 54F - Alt
[6 empty] | 77 | ⁰ C | 1 | Outside temperature | to | Greater than | 41 |  |  | gt(tdr,77,1)&(to>41) | ON if Tdr > 77F AND To > 41F - Alt
[12 empty] | 50 |  |  | gt(tdr,77,1)&(to>50) | ON if Tdr > 77F AND To > 50F - Alt
[12 empty] | 54 |  |  | gt(tdr,77,1)&(to>54) | ON if Tdr > 77F AND To > 54F - Alt
[6 empty] | 78 | ⁰ C | 1 | Outside temperature | to | Greater than | 41 |  |  | gt(tdr,78,1)&(to>41) | ON if Tdr > 78F AND To > 41F - Alt
[12 empty] | 50 |  |  | gt(tdr,78,1)&(to>50) | ON if Tdr > 78F AND To > 50F - Alt
[12 empty] | 54 |  |  | gt(tdr,78,1)&(to>54) | ON if Tdr > 78F AND To > 54F - Alt
[6 empty] | 79 | ⁰ C | 1 | Outside temperature | to | Greater than | 41 |  |  | gt(tdr,79,1)&(to>41) | ON if Tdr > 79F AND To > 41F - Alt
[12 empty] | 50 |  |  | gt(tdr,79,1)&(to>50) | ON if Tdr > 79F AND To > 50F - Alt
[12 empty] | 54 |  |  | gt(tdr,79,1)&(to>54) | ON if Tdr > 79F AND To > 54F - Alt
Modulating | Model - Modulating Daily Formula Profiles - IP - 01 | IP | CO2 concentration | co2 | Greater than | 1000 | ppm | ---- | Air temperature | ta | Greater than | 68 | ⁰ C | ---- | (co2>1000)&(ta>68) | ON if CO2 > 1000ppm AND Ta > 68F
[12 empty] | 66 |  |  | (co2>1000)&(ta>66) | ON if CO2 > 1000ppm AND Ta > 66F
[12 empty] | 65 |  |  | (co2>1000)&(ta>65) | ON if CO2 > 1000ppm AND Ta > 65F
[12 empty] | 63 |  |  | (co2>1000)&(ta>63) | ON if CO2 > 1000ppm AND Ta > 63F
[12 empty] | 61 |  |  | (co2>1000)&(ta>61) | ON if CO2 > 1000ppm AND Ta > 61F
[12 empty] | 59 |  |  | (co2>1000)&(ta>59) | ON if CO2> 1000ppm AND Ta > 59F
[6 empty] | 1500 | ppm | ---- | Air temperature | ta | Greater than | 68 |  |  | (co2>1500)&(ta>68) | ON if CO2 > 1500ppm AND Ta > 68F
[12 empty] | 66 |  |  | (co2>1500)&(ta>66) | ON if CO2> 1500ppm AND Ta > 66F
[12 empty] | 65 |  |  | (co2>1500)&(ta>65) | ON if CO2> 1500ppm AND Ta > 65F
[12 empty] | 63 |  |  | (co2>1500)&(ta>63) | ON if CO2 > 1500ppm AND Ta > 63F
[12 empty] | 61 |  |  | (co2>1500)&(ta>61) | ON if CO2 > 1500ppm AND Ta > 61F
[12 empty] | 59 |  |  | (co2>1500)&(ta>59) | ON if CO2 > 1500ppm AND Ta > 59F
Modulating | Model - Modulating Daily Formula Profiles - IP - 01 | IP | CO2 concentration | co2 | Greater than | 1000 | ppm | 100 | Air temperature | ta | Greater than | 68 | ⁰ C | 1 | gt(co2,1000,100)&gt(ta,68,1) | ON if CO2 > 1000ppm (100) AND Ta > 68F (1)
[12 empty] | 66 |  |  | gt(co2,1000,100)&gt(ta,66,1) | ON if CO2> 1000ppm (100) AND Ta > 66F (1)
[12 empty] | 65 |  |  | gt(co2,1000,100)&gt(ta,65,1) | ON if CO2> 1000ppm (100) AND Ta > 65F (1)
[12 empty] | 63 |  |  | gt(co2,1000,100)&gt(ta,63,1) | ON if CO2> 1000ppm (100) AND Ta > 63F (1)
[12 empty] | 61 |  |  | gt(co2,1000,100)&gt(ta,61,1) | ON if CO2 > 1000ppm (100) AND Ta > 61F (1)
[12 empty] | 59 |  |  | gt(co2,1000,100)&gt(ta,59,1) | ON if CO2 > 1000ppm (100) AND Ta > 59F (1)
[6 empty] | 1500 | ppm | 100 | Air temperature | ta | Greater than | 68 |  |  | gt(co2,1500,100)&gt(ta,68,1) | ON if CO2 > 1500 ppm (100) AND Ta > 68F (1)
[12 empty] | 66 |  |  | gt(co2,1500,100)&gt(ta,66,1) | ON if CO2> 1500ppm (100) AND Ta > 66F (1)
[12 empty] | 65 |  |  | gt(co2,1500,100)&gt(ta,65,1) | ON if CO2 > 1500ppm (100) AND Ta > 65F (1)
[12 empty] | 63 |  |  | gt(co2,1500,100)&gt(ta,63,1) | ON if CO2 > 1500ppm (100) AND Ta > 63F (1)
[12 empty] | 61 |  |  | gt(co2,1500,100)&gt(ta,61,1) | ON if CO2> 1500ppm (100) AND Ta > 61F (1)
[12 empty] | 59 |  |  | gt(co2,1500,100)&gt(ta,59,1) | ON if CO2> 1500ppm (100) AND Ta > 59F (1)
Modulating | Model - Modulating Daily Formula Profiles - IP - 01 | IP | CO2 concentration | co2 | Greater than | 1000 | ppm | ---- | Dry resultant temperature | tdr | Greater than | 68 | ⁰ C | ---- | (co2>1000)&(tdr>68) | ON if CO2 > 1000ppm AND Tdr > 68F
[12 empty] | 66 |  |  | (co2>1000)&(tdr>66) | ON if CO2 > 1000ppm AND Tdr > 66F
[12 empty] | 65 |  |  | (co2>1000)&(tdr>65) | ON if CO2 > 1000ppm AND Tdr > 65F
[12 empty] | 63 |  |  | (co2>1000)&(tdr>63) | ON if CO2 > 1000ppm AND Tdr > 63F
[12 empty] | 61 |  |  | (co2>1000)&(tdr>61) | ON if CO2 > 1000ppm AND Tdr > 61F
[12 empty] | 59 |  |  | (co2>1000)&(tdr>59) | ON if CO2 > 1000ppm AND Tdr > 59F
[6 empty] | 1500 | ppm | ---- | Dry resultant temperature | tdr | Greater than | 68 |  |  | (co2>1500)&(tdr>68) | ON if CO2 > 1500ppm AND Tdr > 68F
[12 empty] | 66 |  |  | (co2>1500)&(tdr>66) | ON if CO2 > 1500ppm AND Tdr > 66F
[12 empty] | 65 |  |  | (co2>1500)&(tdr>65) | ON if CO2> 1500ppm AND Tdr > 65F
[12 empty] | 63 |  |  | (co2>1500)&(tdr>63) | ON if CO2 > 1500ppm AND Tdr > 63F
[12 empty] | 61 |  |  | (co2>1500)&(tdr>61) | ON if CO2 > 1500ppm AND Tdr > 61F
[12 empty] | 59 |  |  | (co2>1500)&(tdr>59) | ON if CO2> 1500ppm AND Tdr > 59F
Modulating | Model - Modulating Daily Formula Profiles - IP - 01 | IP | CO2 concentration | co2 | Greater than | 1000 | ppm | 100 | Dry resultant temperature | tdr | Greater than | 68 | ⁰ C | 1 | gt(co2,1000,100)&gt(tdr,68,1) | ON if CO2> 1000ppm (100) AND Tdr > 68F (1)
[12 empty] | 66 |  |  | gt(co2,1000,100)&gt(tdr,66,1) | ON if CO2 > 1000ppm (100) AND Tdr > 66F (1)
[12 empty] | 65 |  |  | gt(co2,1000,100)&gt(tdr,65,1) | ON if CO2> 1000ppm (100) AND Tdr > 65F (1)
[12 empty] | 63 |  |  | gt(co2,1000,100)&gt(tdr,63,1) | ON if CO2 > 1000ppm (100) AND Tdr > 63F (1)
[12 empty] | 61 |  |  | gt(co2,1000,100)&gt(tdr,61,1) | ON if CO2 > 1000ppm (100) AND Tdr > 61F (1)
[12 empty] | 59 |  |  | gt(co2,1000,100)&gt(tdr,59,1) | ON if CO2> 1000ppm (100) AND Tdr > 59F (1)
[6 empty] | 1500 | ppm | 100 | Dry resultant temperature | tdr | Greater than | 68 |  |  | gt(co2,1500,100)&gt(tdr,68,1) | ON if CO2> 1500 ppm (100) AND Tdr > 68F (1)
[12 empty] | 66 |  |  | gt(co2,1500,100)&gt(tdr,66,1) | ON if CO2 > 1500ppm (100) AND Tdr > 66F (1)
[12 empty] | 65 |  |  | gt(co2,1500,100)&gt(tdr,65,1) | ON if CO2 > 1500ppm (100) AND Tdr > 65F (1)
[12 empty] | 63 |  |  | gt(co2,1500,100)&gt(tdr,63,1) | ON if CO2 > 1500ppm (100) AND Tdr > 63F (1)
[12 empty] | 61 |  |  | gt(co2,1500,100)&gt(tdr,61,1) | ON if CO2 > 1500ppm (100) AND Tdr > 61F (1)
[12 empty] | 59 |  |  | gt(co2,1500,100)&gt(tdr,59,1) | ON if CO2> 1500ppm (100) AND Tdr > 59F (1)
Modulating | Model - Modulating Daily Formula Profiles - IP - 01 | IP | CO2 concentration | co2 | Greater than | 1000 | ppm | ---- | Air temperature | ta | Greater than | 68 | ⁰ C | ---- | (co2>1000) ¦ (ta>68) | ON if CO2> 1000ppm OR Ta > 68F
[12 empty] | 66 |  |  | (co2>1000) ¦ (ta>66) | ON iF CO2 > 1000ppm OR Ta > 66F
[12 empty] | 65 |  |  | (co2>1000) ¦ (ta>65) | ON if CO2 > 1000ppm OR Ta > 65F
[12 empty] | 63 |  |  | (co2>1000) ¦ (ta>63) | ON if CO2> 1000ppm OR Ta > 63F
[12 empty] | 61 |  |  | (co2>1000) ¦ (ta>61) | ON if CO2 > 1000ppm OR Ta > 61F
[12 empty] | 59 |  |  | (co2>1000) ¦ (ta>59) | ON if CO2> 1000ppm OR Ta > 59F
[6 empty] | 1500 | ppm | ---- | Air temperature | ta | Greater than | 68 |  |  | (co2>1500) ¦ (ta>68) | ON if CO2> 1500ppm OR Ta > 68F
[12 empty] | 66 |  |  | (co2>1500) ¦ (ta>66) | ON if CO2> 1500ppm OR Ta > 66F
[12 empty] | 65 |  |  | (co2>1500) ¦ (ta>65) | ON if CO2 > 1500ppm OR Ta > 65F
[12 empty] | 63 |  |  | (co2>1500) ¦ (ta>63) | ON if CO2 > 1500ppm OR Ta > 63F
[12 empty] | 61 |  |  | (co2>1500) ¦ (ta>61) | ON if CO2> 1500ppm OR Ta > 61F
[12 empty] | 59 |  |  | (co2>1500) ¦ (ta>59) | ON if CO2 > 1500ppm OR Ta > 59F
Modulating | Model - Modulating Daily Formula Profiles - IP - 01 | IP | CO2 concentration | co2 | greater than | 1000 | ppm | ---- | Dry resultant temperature | tdr | Greater than | 68 | ⁰ C | ---- | (co2>1000) ¦ (tdr>68) | ON if CO2> 1000ppm OR Tdr > 68F
[12 empty] | 66 |  |  | (co2>1000) ¦ (tdr>66) | ON if CO2> 1000ppm OR Tdr > 66F
[12 empty] | 65 |  |  | (co2>1000) ¦ (tdr>65) | ON if CO2 > 1000ppm OR Tdr > 65F
[12 empty] | 63 |  |  | (co2>1000) ¦ (tdr>63) | ON if CO2 > 1000ppm OR Tdr > 63F
[12 empty] | 61 |  |  | (co2>1000) ¦ (tdr>61) | ON if CO2 > 1000ppm OR Tdr > 61F
[12 empty] | 59 |  |  | (co2>1000) ¦ (tdr>59) | ON if CO2 > 1000ppm OR Tdr > 59F
[6 empty] | 1500 | ppm | ---- | Dry resultant temperature | tdr | Greater than | 68 |  |  | (co2>1500) ¦ (tdr>68) | ON if CO2 > 1500ppm OR Tdr > 68F
[12 empty] | 66 |  |  | (co2>1500) ¦ (tdr>66) | ON if CO2 > 1500ppm OR Tdr > 66F
[12 empty] | 65 |  |  | (co2>1500) ¦ (tdr>65) | ON if CO2> 1500ppm OR Tdr > 65F
[12 empty] | 63 |  |  | (co2>1500) ¦ (tdr>63) | ON if CO2> 1500ppm OR Tdr > 63F
[12 empty] | 61 |  |  | (co2>1500) ¦ (tdr>61) | ON if CO2> 1500ppm OR Tdr > 61F
[12 empty] | 59 |  |  | (co2>1500) ¦ (tdr>59) | ON if CO2> 1500ppm OR Tdr > 59F
Modulating | Model - Modulating Daily Formula Profiles - IP - 01 | IP | Air temperature | ta | Less than | to | ⁰ F | ---- | ---- | ---- | ---- | ---- | ---- | ---- | (ta<to) | ON if Ta < To
[5 empty] | Greater than | [9 empty] | (ta>to) | ON if Ta > To
|  | IP | Dry resultant temperature | tdr | Less than | [9 empty] | (tdr<to) | ON if Tdr < To
[5 empty] | Greater than | [9 empty] | (tdr>to) | ON if Tdr > To
Modulating | Model - Modulating Daily Formula Profiles - IP - 01 | IP | Air temperature | ta | Controller ramps from | 68 | ⁰ F |  | Air temperature | ta | TO | 61 | ⁰ F | 1 | ramp(ta,69,0,61,1) | Controller ramp Ta 61F - 69F
[6 empty] | 69 | [5 empty] | 62 |  |  | ramp(ta,72,0,62,1) | Controller ramp Ta 62F - 72F
[6 empty] | 70 | [5 empty] | 63 |  |  | ramp(ta,73,0,63,1) | Controller ramp Ta 63F- 73F
[6 empty] | 71 | [5 empty] | 64 |  |  | ramp(ta,74,0,64,1) | Controller ramp Ta 64F- 74F
[6 empty] | 72 | [5 empty] | 65 |  |  | ramp(ta,75,0,65,1) | Controller ramp Ta 65F - 75F
[6 empty] | 73 | [5 empty] | 66 |  |  | ramp(ta,76,0,66,1) | Controller ramp Ta 66F - 76F
Modulating | Model - Modulating Daily Formula Profiles - IP - 01 | IP | Air temperature | ta | Less than | 64 | ⁰ F | 4 | Outside temperature | to | Less than | 59 | ⁰ F | 7 | lt(to,64,4) & lt(to,ta,7) | ON if Ta < 64F & To < Ta.(4&7)F
[6 empty] | 65 | [5 empty] | 58 |  |  | lt(to,65,4) & lt(to,ta,7) | ON if Ta < 65F & To < Ta.(4&7)F
[6 empty] | 66 | [5 empty] | 57 |  |  | lt(to,66,4) & lt(to,ta,7) | ON if Ta < 66F & To < Ta.(4&7)F
[6 empty] | 67 | [5 empty] | 56 |  |  | lt(to,67,4) & lt(to,ta,7) | ON if Ta < 67F & To < Ta.(4&7)F
[6 empty] | 68 | [5 empty] | 55 |  |  | lt(to,68,4) & lt(to,ta,7) | ON if Ta < 68F & To < Ta.(4&7)F
[6 empty] | 69 | [5 empty] | 53 |  |  | lt(to,69,4) & lt(to,ta,7) | ON if Ta < 69F & To < Ta.(4&7)F
[6 empty] | 70 | [5 empty] | 52 |  |  | lt(to,70,4) & lt(to,ta,7) | ON if Ta < 70F & To < Ta.(4&7)F
Modulating | Model - Modulating Daily Formula Profiles - IP - 01 | IP | Air temperature | ta | Greater than | 79 | ⁰ F | 4 | Outside temperature | to | Greater than | 86 | ⁰ F | 7 | gt(to,79,4) & gt(to,ta,7) | ON if Ta > 79F & To > Ta.(4&7)F
[6 empty] | 78 | [5 empty] | 87 |  |  | gt(to,78,4) & gt(to,ta,7) | ON if Ta > 78F & To > Ta.(4&7)F
[6 empty] | 77 | [5 empty] | 88 |  |  | gt(to,77,4) & gt(to,ta,7) | ON if Ta > 77F & To > Ta.(4&7)F
[6 empty] | 76 | [5 empty] | 89 |  |  | gt(to,76,4) & gt(to,ta,7) | ON if Ta > 76F & To > Ta.(4&7)F
[6 empty] | 75 | [5 empty] | 90 |  |  | gt(to,75,4) & gt(to,ta,7) | ON if Ta > 75F & To > Ta.(4&7)F
[6 empty] | 74 | [5 empty] | 91 |  |  | gt(to,74,4) & gt(to,ta,7) | ON if Ta > 74F & To > Ta.(4&7)F
[6 empty] | 73 | [5 empty] | 92 |  |  | gt(to,73,4) & gt(to,ta,7) | ON if Ta > 73F & To > Ta.(4&7)F
Modulating | Model - Modulating Daily Formula Profiles - IP - 01 | IP | Illuminance | e1 | Controller ramps from | 0 | lux | ---- | ---- | ---- | TO | 100 | lux | ---- | ramp(e1,0,1,100,.4) | Iluminance ramp 0-100 lux (0.4 base)
[12 empty] | 200 |  |  | ramp(e1,0,1,200,.4) | Iluminance ramp 0-200 lux (0.4 base)
[12 empty] | 300 |  |  | ramp(e1,0,1,300,.4) | Iluminance ramp 0-300 lux (0.4 base)
[12 empty] | 400 |  |  | ramp(e1,0,1,400,.4) | Iluminance ramp 0-400 lux (0.4 base)
[12 empty] | 500 |  |  | ramp(e1,0,1,500,.4) | Iluminance ramp 0-500 lux (0.4 base)
[12 empty] | 600 |  |  | ramp(e1,0,1,600,.4) | Iluminance ramp 0-600 lux (0.4 base)
[12 empty] | 700 |  |  | ramp(e1,0,1,700,.4) | Iluminance ramp 0-700 lux (0.4 base)
[12 empty] | 800 |  |  | ramp(e1,0,1,800,.4) | Iluminance ramp 0-800 lux (0.4 base)
Modulating | Model - Modulating Daily Formula Profiles - IP - 01 | IP | Illuminance | e1 | Controller ramps from | 0 | lux | ---- | ---- | ---- | TO | 100 | lux | ---- | ramp(e1,0,1,100,0) | Iluminance ramp 0-100 lux
[12 empty] | 200 |  |  | ramp(e1,0,1,200,0) | Iluminance ramp 0-200 lux
[12 empty] | 300 |  |  | ramp(e1,0,1,300,0) | Iluminance ramp 0-300 lux
[12 empty] | 400 |  |  | ramp(e1,0,1,400,0) | Iluminance ramp 0-400 lux
[12 empty] | 500 |  |  | ramp(e1,0,1,500,0) | Iluminance ramp 0-500 lux
[12 empty] | 600 |  |  | ramp(e1,0,1,600,0) | Iluminance ramp 0-600 lux
[12 empty] | 700 |  |  | ramp(e1,0,1,700,0) | Iluminance ramp 0-700 lux
[12 empty] | 800 |  |  | ramp(e1,0,1,800,0) | Iluminance ramp 0-800 lux
Note on R127: Rajasekhar Narukula:

## Absolute - Metric
Model - Absolute Daily Formula Profiles - Metric - 01
Type of Profile | Model reference | Units | Variable 1 |  |  |  |  | Result | [5 empty] | Formula profile | Alternative formula profile | Model daily profile description
|  |  | Variable | Tag ID | Condition | Value | Unit | Condition 1 | Value | Unit | Condition 2 | Value | Unit
Absolute | Model - Absolute Daily Formula Profiles - Metric - 01 | Metric | Outside air temperature | to | Less than | 18 | ⁰ C | EQUAL TO | 18 | ⁰ C | ELSE EQUAL TO | to | ⁰ C | if(to<18,18,to) | ---- | Temp =18C if To < 18C else Temp = To
[9 empty] | 17 |  |  |  |  | if(to<18,17,to) |  | Temp =17C if To < 18C else Temp = To
[9 empty] | 16 |  |  |  |  | if(to<18,16,to) |  | Temp =16C if To < 18C else Temp = To
[9 empty] | 15 |  |  |  |  | if(to<18,15,to) |  | Temp =15C if To < 18C else Temp = To
[9 empty] | 14 |  |  |  |  | if(to<18,14,to) |  | Temp =14C if To < 18C else Temp = To
Absolute | Model - Absolute Daily Formula Profiles - Metric - 01 | Metric | Outside air temperature | to | Less than | 17 | ⁰ C | EQUAL TO | 18 | ⁰ C | ELSE EQUAL TO | to | ⁰ C | if(to<17,18,to) | ---- | Temp =18C if To < 17C else Temp = To
[9 empty] | 17 |  |  |  |  | if(to<17,17,to) |  | Temp =17C if To < 17C else Temp = To
[9 empty] | 16 |  |  |  |  | if(to<17,16,to) |  | Temp =16C if To < 17C else Temp = To
[9 empty] | 15 |  |  |  |  | if(to<17,15,to) |  | Temp =15C if To < 17C else Temp = To
[9 empty] | 14 |  |  |  |  | if(to<17,14,to) |  | Temp =14C if To < 17C else Temp = To
Absolute | Model - Absolute Daily Formula Profiles - Metric - 01 | Metric | Outside air temperature | to | Less than | 16 | ⁰ C | EQUAL TO | 18 | ⁰ C | ELSE EQUAL TO | to | ⁰ C | if(to<16,18,to) | ---- | Temp =18C if To < 16C else Temp = To
[9 empty] | 17 |  |  |  |  | if(to<16,17,to) |  | Temp =17C if To < 16C else Temp = To
[9 empty] | 16 |  |  |  |  | if(to<16,16,to) |  | Temp =16C if To < 16C else Temp = To
[9 empty] | 15 |  |  |  |  | if(to<16,15,to) |  | Temp =15C if To < 16C else Temp = To
[9 empty] | 14 |  |  |  |  | if(to<16,14,to) |  | Temp =14C if To < 16C else Temp = To
Absolute | Model - Absolute Daily Formula Profiles - Metric - 01 | Metric | Outside air temperature | to | Less than | 15 | ⁰ C | EQUAL TO | 18 | ⁰ C | ELSE EQUAL TO | to | ⁰ C | if(to<15,18,to) | ---- | Temp =18C if To < 15C else Temp = To
[9 empty] | 17 |  |  |  |  | if(to<15,17,to) |  | Temp =17C if To < 15C else Temp = To
[9 empty] | 16 |  |  |  |  | if(to<15,16,to) |  | Temp =16C if To < 15C else Temp = To
[9 empty] | 15 |  |  |  |  | if(to<15,15,to) |  | Temp =15C if To < 15C else Temp = To
[9 empty] | 14 |  |  |  |  | if(to<15,14,to) |  | Temp =14C if To < 15C else Temp = To
Absolute | Model - Absolute Daily Formula Profiles - Metric - 01 | Metric | Outside air temperature | to | Less than | 14 | ⁰ C | EQUAL TO | 18 | ⁰ C | ELSE EQUAL TO | to | ⁰ C | if(to<14,18,to) | ---- | Temp =18C if To < 14C else Temp = To
[9 empty] | 17 |  |  |  |  | if(to<14,17,to) |  | Temp =17C if To < 14C else Temp = To
[9 empty] | 16 |  |  |  |  | if(to<14,16,to) |  | Temp =16 C if To < 14C else Temp = To
[9 empty] | 15 |  |  |  |  | if(to<14,15,to) |  | Temp =15C if To < 14C else Temp = To
[9 empty] | 14 |  |  |  |  | if(to<14,14,to) |  | Temp =14C if To < 14C else Temp = To
Absolute | Model - Absolute Daily Formula Profiles - Metric - 01 | Metric | Outside air temperature | to | Less than | 13 | ⁰ C | EQUAL TO | 18 | ⁰ C | ELSE EQUAL TO | to | ⁰ C | if(to<13,18,to) | ---- | Temp =18C if To < 13C else Temp = To
[9 empty] | 17 |  |  |  |  | if(to<13,17,to) |  | Temp =17C if To < 13C else Temp = To
[9 empty] | 16 |  |  |  |  | if(to<13,16,to) |  | Temp =16 C if To < 13C else Temp = To
[9 empty] | 15 |  |  |  |  | if(to<13,15,to) |  | Temp =15C if To < 13C else Temp = To
[9 empty] | 14 |  |  |  |  | if(to<13,14,to) |  | Temp =14C if To < 13C else Temp = To
Absolute | Model - Absolute Daily Formula Profiles - Metric - 01 | Metric | Outside air temperature | to | Less than | 12 | ⁰ C | EQUAL TO | 18 | ⁰ C | ELSE EQUAL TO | to | ⁰ C | if(to<12,18,to) | ---- | Temp =18C if To < 12C else Temp = To
[9 empty] | 17 |  |  |  |  | if(to<12,17,to) |  | Temp =17C if To < 12C else Temp = To
[9 empty] | 16 |  |  |  |  | if(to<12,16,to) |  | Temp =16 C if To < 12C else Temp = To
[9 empty] | 15 |  |  |  |  | if(to<12,15,to) |  | Temp =15C if To < 12C else Temp = To
[9 empty] | 14 |  |  |  |  | if(to<12,14,to) |  | Temp =14C if To < 12C else Temp = To
Absolute | Model - Absolute Daily Formula Profiles - Metric - 01 | Metric | Outside air temperature | to | Less than | 11 | ⁰ C | EQUAL TO | 18 | ⁰ C | ELSE EQUAL TO | to | ⁰ C | if(to<11,18,to) | ---- | Temp =18C if To < 11C else Temp = To
[9 empty] | 17 |  |  |  |  | if(to<11,17,to) |  | Temp =17C if To < 11C else Temp = To
[9 empty] | 16 |  |  |  |  | if(to<11,16,to) |  | Temp =16 C if To < 11C else Temp = To
[9 empty] | 15 |  |  |  |  | if(to<11,15,to) |  | Temp =15C if To < 11C else Temp = To
[9 empty] | 14 |  |  |  |  | if(to<11,14,to) |  | Temp =14C if To < 11C else Temp = To
Absolute | Model - Absolute Daily Formula Profiles - Metric - 01 | Metric | Outside air temperature | to | Less than | 10 | ⁰ C | EQUAL TO | 18 | ⁰ C | ELSE EQUAL TO | to | ⁰ C | if(to<10,18,to) | ---- | Temp =18C if To < 10C else Temp = To
[9 empty] | 17 |  |  |  |  | if(to<10,17,to) |  | Temp =17C if To < 10C else Temp = To
[9 empty] | 16 |  |  |  |  | if(to<10,16,to) |  | Temp =16 C if To < 10C else Temp = To
[9 empty] | 15 |  |  |  |  | if(to<10,15,to) |  | Temp =15C if To < 10C else Temp = To
[9 empty] | 14 |  |  |  |  | if(to<10,14,to) |  | Temp =14C if To < 10C else Temp = To
Absolute | Model - Absolute Daily Formula Profiles - Metric - 01 | Metric | Outside air temperature | to | Less than | 9 | ⁰ C | EQUAL TO | 18 | ⁰ C | ELSE EQUAL TO | to | ⁰ C | if(to<9,18,to) | ---- | Temp =18C if To < 9C else Temp = To
[9 empty] | 17 |  |  |  |  | if(to<9,17,to) |  | Temp =17C if To < 9C else Temp = To
[9 empty] | 16 |  |  |  |  | if(to<9,16,to) |  | Temp =16 C if To < 9C else Temp = To
[9 empty] | 15 |  |  |  |  | if(to<9,15,to) |  | Temp =15C if To < 9C else Temp = To
[9 empty] | 14 |  |  |  |  | if(to<9,14,to) |  | Temp =14C if To < 9C else Temp = To
Absolute | Model - Absolute Daily Formula Profiles - Metric - 01 | Metric | Outside air temperature | to | Controller ramps from | 12 | ⁰ C | TO | 20 | ⁰ C | ---- | ---- | ---- | ramp(to,12,12,20,20) | if(to<12,12,if(to>20,to,20)) | Temp =12C if To < 12C, 20C if To > 20C (Proportional)
[9 empty] | 19 |  |  |  |  | ramp(to,12,12,20,19) | if(to<12,12,if(to>20,to,19)) | Temp =12C if To < 12C, 19C if To > 20C (Proportional)
[9 empty] | 18 |  |  |  |  | ramp(to,12,12,20,18) | if(to<12,12,if(to>20,to,18)) | Temp =12C if To < 12C, 18C if To > 20C (Proportional)
[9 empty] | 17 |  |  |  |  | ramp(to,12,12,20,17) | if(to<12,12,if(to>20,to,17)) | Temp =12C if To < 12C, 17C if To > 20C (Proportional)
[9 empty] | 16 |  |  |  |  | ramp(to,12,12,20,16) | if(to<12,12,if(to>20,to,16)) | Temp =12C if To < 12C, 16C if To > 20C (Proportional)
Absolute | Model - Absolute Daily Formula Profiles - Metric - 01 | Metric | Outside air temperature | to | Controller ramps from | 13 | ⁰ C | TO | 20 | ⁰ C | ---- | ---- | ---- | ramp(to,13,12,20,20) | if(to<13,12,if(to>20,to,20)) | Temp =12C if To < 13C, 20C if To > 20C (Proportional)
[9 empty] | 19 |  |  |  |  | ramp(to,13,12,20,19) | if(to<13,12,if(to>20,to,19)) | Temp =12C if To < 13C, 19C if To > 20C (Proportional)
[9 empty] | 18 |  |  |  |  | ramp(to,13,12,20,18) | if(to<13,12,if(to>20,to,18)) | Temp =12C if To < 13C, 18C if To > 20C (Proportional)
[9 empty] | 17 |  |  |  |  | ramp(to,13,12,20,17) | if(to<13,12,if(to>20,to,17)) | Temp =12C if To < 13C, 17C if To > 20C (Proportional)
[9 empty] | 16 |  |  |  |  | ramp(to,13,12,20,16) | if(to<13,12,if(to>20,to,16)) | Temp =12C if To < 13C, 16C if To > 20C (Proportional)
Absolute | Model - Absolute Daily Formula Profiles - Metric - 01 | Metric | Outside air temperature | to | Controller ramps from | 14 | ⁰ C | TO | 20 | ⁰ C | ---- | ---- | ---- | ramp(to,14,12,20,20) | if(to<14,12,if(to>20,to,20)) | Temp =12C if To < 14C, 20C if To > 20C (Proportional)
[9 empty] | 19 |  |  |  |  | ramp(to,14,12,20,19) | if(to<14,12,if(to>20,to,19)) | Temp =12C if To < 14C, 19C if To > 20C (Proportional)
[9 empty] | 18 |  |  |  |  | ramp(to,14,12,20,18) | if(to<14,12,if(to>20,to,18)) | Temp =12C if To < 14C, 18C if To > 20C (Proportional)
[9 empty] | 17 |  |  |  |  | ramp(to,14,12,20,17) | if(to<14,12,if(to>20,to,17)) | Temp =12C if To < 14C, 17C if To > 20C (Proportional)
[9 empty] | 16 |  |  |  |  | ramp(to,14,12,20,16) | if(to<14,12,if(to>20,to,16)) | Temp =12C if To < 14C, 16C if To > 20C (Proportional)
Absolute | Model - Absolute Daily Formula Profiles - Metric - 01 | Metric | Outside air temperature | to | Controller ramps from | 15 | ⁰ C | TO | 20 | ⁰ C | ---- | ---- | ---- | ramp(to,15,12,20,20) | if(to<15,12,if(to>20,to,20)) | Temp =12C if To < 15C, 20C if To > 20C (Proportional)
[9 empty] | 19 |  |  |  |  | ramp(to,15,12,20,19) | if(to<15,12,if(to>20,to,19)) | Temp =12C if To < 15C, 19C if To > 20C (Proportional)
[9 empty] | 18 |  |  |  |  | ramp(to,15,12,20,18) | if(to<15,12,if(to>20,to,18)) | Temp =12C if To < 15C, 18C if To > 20C (Proportional)
[9 empty] | 17 |  |  |  |  | ramp(to,15,12,20,17) | if(to<15,12,if(to>20,to,17)) | Temp =12C if To < 15C, 17C if To > 20C (Proportional)
[9 empty] | 16 |  |  |  |  | ramp(to,15,12,20,16) | if(to<15,12,if(to>20,to,16)) | Temp =12C if To < 15C, 16C if To > 20C (Proportional)
Absolute | Model - Absolute Daily Formula Profiles - Metric - 01 | Metric | Outside air temperature | to | Controller ramps from | 16 | ⁰ C | TO | 20 | ⁰ C | ---- | ---- | ---- | ramp(to,16,12,20,20) | if(to<16,12,if(to<20,to,20)) | Temp =12C if To < 16C, 20C if To > 20C (Proportional)
[6 empty] | 17 | [7 empty] | ramp(to,17,12,20,20) | if(to<17,12,if(to<20,to,20)) | Temp =12C if To < 17C, 20C if To > 20C (Proportional)
[6 empty] | 18 | [7 empty] | ramp(to,18,12,20,20) | if(to<18,12,if(to<20,to,20)) | Temp =12C if To < 18C, 20C if To > 20C (Proportional)
[6 empty] | 19 | [7 empty] | ramp(to,19,12,20,20) | if(to<19,12,if(to<20,to,20)) | Temp =12C if To < 19C, 20C if To > 20C (Proportional)
[6 empty] | 20 | [7 empty] | ramp(to,20,12,20,20) | if(to<20,12,if(to<20,to,20)) | Temp =12C if To < 20C, 20C if To > 20C (Proportional)
Absolute | Model - Absolute Daily Formula Profiles - Metric - 01 | Metric | Outside air temperature | to | If less than | 20 | ⁰ C | EQUAL TO | to+.6*(20-to) | ⁰ C | ELSE EQUAL TO | to | ⁰ C | if(to<20,to+.6*(20-to),to) | ---- | Temp ="to+.6*(20-to)" if To < 20C, else Temp = To
[6 empty] | 19 |  |  | to+.6*(19-to) |  |  |  |  | if(to<19,to+.6*(19-to),to) |  | Temp ="to+.6*(19-to)" if To < 19C, else Temp = To
[6 empty] | 18 |  |  | to+.6*(18-to) |  |  |  |  | if(to<18,to+.6*(18-to),to) |  | Temp ="to+.6*(18-to)" if To < 18C, else Temp = To
[6 empty] | 17 |  |  | to+.6*(17-to) |  |  |  |  | if(to<17,to+.6*(17-to),to) |  | Temp ="to+.6*(17-to)" if To < 17C, else Temp = To
[6 empty] | 16 |  |  | to+.6*(16-to) |  |  |  |  | if(to<16,to+.6*(16-to),to) |  | Temp ="to+.6*(16-to)" if To < 16C, else Temp = To
[6 empty] | 15 |  |  | to+.6*(15-to) |  |  |  |  | if(to<15,to+.6*(15-to),to) |  | Temp ="to+.6*(15-to)" if To < 15C, else Temp = To
[6 empty] | 14 |  |  | to+.6*(14-to) |  |  |  |  | if(to<14,to+.6*(14-to),to) |  | Temp ="to+.6*(14-to)" if To < 14C, else Temp = To
[6 empty] | 13 |  |  | to+.6*(13-to) |  |  |  |  | if(to<13,to+.6*(13-to),to) |  | Temp ="to+.6*(13-to)" if To < 13C, else Temp = To
[6 empty] | 12 |  |  | to+.6*(12-to) |  |  |  |  | if(to<12,to+.6*(12-to),to) |  | Temp ="to+.6*(12-to)" if To < 12C, else Temp = To
[6 empty] | 11 |  |  | to+.6*(11-to) |  |  |  |  | if(to<11,to+.6*(11-to),to) |  | Temp ="to+.6*(11-to)" if To < 11C, else Temp = To

## Absolute - IP
Model - Absolute Daily Formula Profiles - IP - 01
Type of Profile | Model reference | Units | Variable 1 |  |  |  |  | Result | [5 empty] | Formula profile | Alternative formula profile | Model daily profile description
|  |  | Variable | Tag ID | Condition | Value | Unit | Condition 1 | Value | Unit | Condition 2 | Value | Unit
Absolute | Model - Absolute Daily Formula Profiles - IP - 01 | Metric | Outside air temperature | to | Less than | 65 | ⁰ F | EQUAL TO | 65 | ⁰ F | ELSE EQUAL TO | to | ⁰ F | if(to<65,65,to) | ---- | Temp= 65F if To < 65F else Temp= To
[9 empty] | 63 |  |  |  |  | if(to<65,63,to) |  | Temp= 65F if To < 63F else Temp= To
[9 empty] | 61 |  |  |  |  | if(to<65,61,to) |  | Temp= 65F if To < 61F else Temp= To
[9 empty] | 59 |  |  |  |  | if(to<65,59,to) |  | Temp= 65F if To < 59F else Temp= To
Absolute | Model - Absolute Daily Formula Profiles - IP - 01 | Metric | Outside air temperature | to | Less than | 63 | ⁰ F | EQUAL TO | 65 | ⁰ F | ELSE EQUAL TO | to | ⁰ F | if(to<63,65,to) | ---- | Temp= 63F if To < 65F else Temp= To
[9 empty] | 63 |  |  |  |  | if(to<63,63,to) |  | Temp= 63F if To < 63F else Temp= To
[9 empty] | 61 |  |  |  |  | if(to<63,61,to) |  | Temp= 63F if To < 61F else Temp= To
[9 empty] | 59 |  |  |  |  | if(to<63,59,to) |  | Temp= 63F if To < 59F else Temp= To
Absolute | Model - Absolute Daily Formula Profiles - IP - 01 | Metric | Outside air temperature | to | Less than | 61 | ⁰ F | EQUAL TO | 65 | ⁰ F | ELSE EQUAL TO | to | ⁰ F | if(to<61,65,to) | ---- | Temp= 61F if To < 65F else Temp= To
[9 empty] | 63 |  |  |  |  | if(to<61,63,to) |  | Temp= 61F if To < 63F else Temp= To
[9 empty] | 61 |  |  |  |  | if(to<61,61,to) |  | Temp= 61F if To < 61F else Temp= To
[9 empty] | 59 |  |  |  |  | if(to<61,59,to) |  | Temp= 61F if To < 59F else Temp= To
Absolute | Model - Absolute Daily Formula Profiles - IP - 01 | Metric | Outside air temperature | to | Less than | 59 | ⁰ F | EQUAL TO | 65 | ⁰ F | ELSE EQUAL TO | to | ⁰ F | if(to<59,65,to) | ---- | Temp= 59F if To < 65F else Temp= To
[9 empty] | 63 |  |  |  |  | if(to<59,63,to) |  | Temp= 59F if To < 63F else Temp= To
[9 empty] | 61 |  |  |  |  | if(to<59,61,to) |  | Temp= 59F if To < 61F else Temp= To
[9 empty] | 59 |  |  |  |  | if(to<59,59,to) |  | Temp= 59F if To < 59F else Temp= To
Absolute | Model - Absolute Daily Formula Profiles - IP - 01 | Metric | Outside air temperature | to | Less than | 57 | ⁰ F | EQUAL TO | 65 | ⁰ F | ELSE EQUAL TO | to | ⁰ F | if(to<57,65,to) | ---- | Temp= 57F if To < 65F else Temp= To
[9 empty] | 63 |  |  |  |  | if(to<57,63,to) |  | Temp= 57F if To < 63F else Temp= To
[9 empty] | 61 |  |  |  |  | if(to<57,61,to) |  | Temp= 57F if To < 61F else Temp= To
[9 empty] | 59 |  |  |  |  | if(to<57,59,to) |  | Temp= 57F if To < 59F else Temp= To
Absolute | Model - Absolute Daily Formula Profiles - IP - 01 | Metric | Outside air temperature | to | Less than | 55 | ⁰ F | EQUAL TO | 65 | ⁰ F | ELSE EQUAL TO | to | ⁰ F | if(to<55,65,to) | ---- | Temp= 55F if To < 65F else Temp= To
[9 empty] | 63 |  |  |  |  | if(to<55,63,to) |  | Temp= 55F if To < 63F else Temp= To
[9 empty] | 61 |  |  |  |  | if(to<55,61,to) |  | Temp= 55F if To < 61F else Temp= To
[9 empty] | 59 |  |  |  |  | if(to<55,59,to) |  | Temp= 55F if To < 59F else Temp= To
Absolute | Model - Absolute Daily Formula Profiles - IP - 01 | Metric | Outside air temperature | to | Less than | 53 | ⁰ F | EQUAL TO | 65 | ⁰ F | ELSE EQUAL TO | to | ⁰ F | if(to<53,65,to) | ---- | Temp= 53F if To < 65F else Temp= To
[9 empty] | 63 |  |  |  |  | if(to<53,63,to) |  | Temp= 53F if To < 63F else Temp= To
[9 empty] | 61 |  |  |  |  | if(to<53,61,to) |  | Temp= 53F if To < 61F else Temp= To
[9 empty] | 59 |  |  |  |  | if(to<53,59,to) |  | Temp= 53F if To < 59F else Temp= To
Absolute | Model - Absolute Daily Formula Profiles - IP - 01 | Metric | Outside air temperature | to | Less than | 51 | ⁰ F | EQUAL TO | 65 | ⁰ F | ELSE EQUAL TO | to | ⁰ F | if(to<51,65,to) | ---- | Temp= 51F if To < 65F else Temp= To
[9 empty] | 63 |  |  |  |  | if(to<51,63,to) |  | Temp= 51F if To < 63F else Temp= To
[9 empty] | 61 |  |  |  |  | if(to<51,61,to) |  | Temp= 51F if To < 61F else Temp= To
[9 empty] | 59 |  |  |  |  | if(to<51,59,to) |  | Temp= 51F if To < 59F else Temp= To
Absolute | Model - Absolute Daily Formula Profiles - IP - 01 | Metric | Outside air temperature | to | Less than | 49 | ⁰ F | EQUAL TO | 65 | ⁰ F | ELSE EQUAL TO | to | ⁰ F | if(to<49,65,to) | ---- | Temp= 49F if To < 65F else Temp= To
[9 empty] | 63 |  |  |  |  | if(to<49,63,to) |  | Temp= 49F if To < 63F else Temp= To
[9 empty] | 61 |  |  |  |  | if(to<49,61,to) |  | Temp= 49F if To < 61F else Temp= To
[9 empty] | 59 |  |  |  |  | if(to<49,59,to) |  | Temp= 49F if To < 59F else Temp= To
Absolute | Model - Absolute Daily Formula Profiles - IP - 01 | Metric | Outside air temperature | to | Less than | 47 | ⁰ F | EQUAL TO | 65 | ⁰ F | ELSE EQUAL TO | to | ⁰ F | if(to<47,65,to) | ---- | Temp= 47F if To < 65F else Temp= To
[9 empty] | 63 |  |  |  |  | if(to<47,63,to) |  | Temp= 47F if To < 63F else Temp= To
[9 empty] | 61 |  |  |  |  | if(to<47,61,to) |  | Temp= 47F if To < 61F else Temp= To
[9 empty] | 59 |  |  |  |  | if(to<47,59,to) |  | Temp= 47F if To < 59F else Temp= To
[9 empty] | 57 |  |  |  |  | if(to<47,57,to) |  | Temp= 47F if To < 57F else Temp= To
Absolute | Model - Absolute Daily Formula Profiles - IP - 01 | Metric | Outside air temperature | to | Controller ramps from | 53 | ⁰ F | TO | 68 | ⁰ F | ---- | ---- | ---- | ramp(to,53,53,68,68) | if(to<53,53,if(to>68,to,68)) | Temp= 53F if To < 53F, 68F if To > 68F (Proportional)
[9 empty] | 65 |  |  |  |  | ramp(to,53,53,68,65) | if(to<53,53,if(to>68,to,65)) | Temp= 53F if To < 53F, 65F if To > 68F (Proportional)
[9 empty] | 63 |  |  |  |  | ramp(to,53,53,68,63) | if(to<53,53,if(to>68,to,63)) | Temp= 53F if To < 53F, 63F if To > 68F (Proportional)
[9 empty] | 61 |  |  |  |  | ramp(to,53,53,68,61) | if(to<53,53,if(to>68,to,61)) | Temp= 53F if To < 53F, 61F if To > 68F (Proportional)
[9 empty] | 59 |  |  |  |  | ramp(to,53,53,68,59) | if(to<53,53,if(to>68,to,59)) | Temp= 53F if To < 53F, 59F if To > 68F (Proportional)
Absolute | Model - Absolute Daily Formula Profiles - IP - 01 | Metric | Outside air temperature | to | Controller ramps from | 54 | ⁰ F | TO | 68 | ⁰ F | ---- | ---- | ---- | ramp(to,54,54,68,68) | if(to<54,54,if(to>68,to,68)) | Temp=54F if To < 54F, 68F if To > 68F (Proportional)
[9 empty] | 65 |  |  |  |  | ramp(to,54,54,68,65) | if(to<54,54,if(to>68,to,65)) | Temp=54F if To < 54F, 65F if To > 68F (Proportional)
[9 empty] | 63 |  |  |  |  | ramp(to,54,54,68,63) | if(to<54,54,if(to>68,to,63)) | Temp=54F if To < 54F, 63F if To > 68F (Proportional)
[9 empty] | 61 |  |  |  |  | ramp(to,54,54,68,61) | if(to<54,54,if(to>68,to,61)) | Temp=54F if To < 54F, 61F if To > 68F (Proportional)
[9 empty] | 59 |  |  |  |  | ramp(to,54,54,68,59) | if(to<54,54,if(to>68,to,59)) | Temp=54F if To < 54F, 59F if To > 68F (Proportional)
Absolute | Model - Absolute Daily Formula Profiles - IP - 01 | Metric | Outside air temperature | to | Controller ramps from | 55 | ⁰ F | TO | 68 | ⁰ F | ---- | ---- | ---- | ramp(to,55,55,68,68) | if(to<55,55,if(to>68,to,68)) | Temp=55F if To < 55F, 68F if To > 68F (Proportional)
[9 empty] | 65 |  |  |  |  | ramp(to,55,55,68,65) | if(to<55,55,if(to>68,to,65)) | Temp=55F if To < 55F, 65F if To > 68F (Proportional)
[9 empty] | 63 |  |  |  |  | ramp(to,55,55,68,63) | if(to<55,55,if(to>68,to,63)) | Temp=55F if To < 55F, 63F if To > 68F (Proportional)
[9 empty] | 61 |  |  |  |  | ramp(to,55,55,68,61) | if(to<55,55,if(to>68,to,61)) | Temp=55F if To < 55F, 61F if To > 68F (Proportional)
[9 empty] | 59 |  |  |  |  | ramp(to,55,55,68,59) | if(to<55,55,if(to>68,to,59)) | Temp=55F if To < 55F, 59F if To > 68F (Proportional)
Absolute | Model - Absolute Daily Formula Profiles - IP - 01 | Metric | Outside air temperature | to | Controller ramps from | 56 | ⁰ F | TO | 68 | ⁰ F | ---- | ---- | ---- | ramp(to,56,56,68,68) | if(to<56,56,if(to>68,to,68)) | Temp=56F if To < 56F, 68F if To > 68F (Proportional)
[9 empty] | 65 |  |  |  |  | ramp(to,56,56,68,65) | if(to<56,56,if(to>68,to,65)) | Temp=56F if To < 56F, 65F if To > 68F. (Proportional)
[9 empty] | 63 |  |  |  |  | ramp(to,56,56,68,63) | if(to<56,56,if(to>68,to,63)) | Temp=56F if To < 56F, 63F if To > 68F. (Proportional)
[9 empty] | 61 |  |  |  |  | ramp(to,56,56,68,61) | if(to<56,56,if(to>68,to,61)) | Temp=56F if To < 56F, 61F if To > 68F. (Proportional)
[9 empty] | 59 |  |  |  |  | ramp(to,56,56,68,59) | if(to<56,56,if(to>68,to,59)) | Temp=56F if To < 56F, 59F if To > 68F. (Proportional)
Absolute | Model - Absolute Daily Formula Profiles - IP - 01 | Metric | Outside air temperature | to | Controller ramps from | 57 | ⁰ F | TO | 68 | ⁰ F | ---- | ---- | ---- | ramp(to,57,57,68,68) | if(to<57,57,if(to>68,to,68)) | Temp=57F if To < 57F, 68F if To > 68F (Proportional)
[9 empty] | 65 |  |  |  |  | ramp(to,57,57,68,65) | if(to<57,57,if(to>68,to,65)) | Temp=57F if To < 57F, 65F if To > 68F. (Proportional)
[9 empty] | 63 |  |  |  |  | ramp(to,57,57,68,63) | if(to<57,57,if(to>68,to,63)) | Temp=57F if To < 57F, 63F if To > 68F. (Proportional
[9 empty] | 61 |  |  |  |  | ramp(to,57,57,68,61) | if(to<57,57,if(to>68,to,61)) | Temp=57F if To < 57F, 61F if To > 68F. (Proportional)
[9 empty] | 59 |  |  |  |  | ramp(to,57,57,68,59) | if(to<57,57,if(to>68,to,59)) | Temp=57F if To < 57F, 59F if To > 68F. (Proportional)
Absolute | Model - Absolute Daily Formula Profiles - IP - 01 | Metric | Outside air temperature | to | Controller ramps from | 58 | ⁰ F | TO | 68 | ⁰ F | ---- | ---- | ---- | ramp(to,58,58,68,68) | if(to<58,58,if(to>68,to,68)) | Temp=58F if To < 57F, 68F if To > 68F (Proportional)
[9 empty] | 65 |  |  |  |  | ramp(to,58,58,68,65) | if(to<58,58,if(to>68,to,65)) | Temp=58F if To < 57F, 65F if To > 68F (Proportional)
[9 empty] | 63 |  |  |  |  | ramp(to,58,58,68,63) | if(to<58,58,if(to>68,to,63)) | Temp=58F if To < 57F, 63F if To > 68F (Proportional)
[9 empty] | 61 |  |  |  |  | ramp(to,58,58,68,61) | if(to<58,58,if(to>68,to,61)) | Temp=58F if To < 57F, 61F if To > 68F (Proportional)
[9 empty] | 59 |  |  |  |  | ramp(to,58,58,68,59) | if(to<58,58,if(to>68,to,59)) | Temp=58F if To < 57F, 59F if To > 68F (Proportional)
Absolute | Model - Absolute Daily Formula Profiles - IP - 01 | Metric | Outside air temperature | to | If less than | 68 | ⁰ F | EQUAL TO | to+.6*(68-to) | ⁰ F | ELSE EQUAL TO | to |  | if(to<68,to+.6*(68-to),to) | ---- | Temp= "to+.6*(68-to)" if To < 68F, else Temp= To
[6 empty] | 67 |  |  | to+.6*(67-to) |  |  |  |  | if(to<67,to+.6*(67-to),to) |  | Temp= "to+.6*(67-to)" if To < 67F, else Temp= To
[6 empty] | 66 |  |  | to+.6*(66-to) |  |  |  |  | if(to<66,to+.6*(66-to),to) |  | Temp= "to+.6*(66-to)" if To < 66F, else Temp= To
[6 empty] | 65 |  |  | to+.6*(65-to) |  |  |  |  | if(to<65,to+.6*(65-to),to) |  | Temp= "to+.6*(65-to)" if To < 65F, else Temp= To
[6 empty] | 64 |  |  | to+.6*(64-to) |  |  |  |  | if(to<64,to+.6*(64-to),to) |  | Temp= "to+.6*(64-to)" if To < 64F, else Temp= To
[6 empty] | 63 |  |  | to+.6*(63-to) |  |  |  |  | if(to<63,to+.6*(63-to),to) |  | Temp= "to+.6*(63-to)" if To < 63F, else Temp= To
[6 empty] | 62 |  |  | to+.6*(62-to) |  |  |  |  | if(to<62,to+.6*(62-to),to) |  | Temp= "to+.6*(62-to)" if To < 62F, else Temp= To
[6 empty] | 61 |  |  | to+.6*(61-to) |  |  |  |  | if(to<61,to+.6*(61-to),to) |  | Temp= "to+.6*(61-to)" if To < 61F, else Temp= To
[6 empty] | 60 |  |  | to+.6*(60-to) |  |  |  |  | if(to<60,to+.6*(60-to),to) |  | Temp= "to+.6*(60-to)" if To < 60F, else Temp= To